The devil you know is better than the angel that you don’t know

Rwanda chemical solution ltd: we offer solution in waste water treatment, air pollution and smell treatment, soil testing and treatment. We supply the laboratory equipments and installation of the equipments; we offer maintenance of the laboratory equipments. We give short trainings to the technicians and high school teachers on laboratory experiments. We give the prices and advice on companies that want to supply the laboratory materials abroad. We are working with the strong companies like SHIMADZU, Agilent. The price and services are affordable. We have experts around the world to do the job. You are welcome.

Please contact the managing Director Valens Habimana on +250785387433

Biotechnological process of environmental sanitation

Why this course?

- Potable water is increasingly becoming scarce

- Amount of polluted water is ever growing

- Water is important next to energy and the water industry is growing rapidly

- Industry and government has to work together to solve this problem by imported water, local supply and water reuse

- Water preparation and WWT depends on microorganisms

- Activated sludge process has saved millions of lives of people; it gives you the energy efficiency and is more sustainable.

- The water budget is 3600 billion /year

- Making Water consume 4% of electricity.

- 70% of energy is on heating water, there is a need to reduce the energy consumption in water sector.  Waste water that comes from the heating and usage at home contains energy that can be reused

Waste water treatment

What is waste water and composition?

- Any water that is discharged from domestic residences, industry, agricultures, etc and which contains various contaminants.

- Domestic waste water is also called sewage: originates from toilets, bathrooms and kitchens and contains organic compounds: proteins, fats, carbohydrates and nutrients: nitrogen and phosphorus and variety of chemicals: soaps, detergents, pesticides, salts, heavy metals, microorganisms and particles.

- 0.5g of organic/l ; it is very low but it is this little organic that gives the water to be unsuitable

- Solids: organic and inorganic

- Dissolved organics, can be volatile

- Suspended particles, easy to remove

- Nitrogen and phosphorus come mostly from urine; the white precipitate in urine is phosphorus.

- Chlorides

- Sulfates are a problematic in waste water, it is transformed to sulfide and in air sulfide is transformed to sulfuric acid that damage the concrete.

- Oil and grease

- Volatile organic compounds

- By products from cleaning

- Coli forms: are fecal indicators, the WWTP has to remove these pathogens and has to protect environment by removing also nitrogen and phosphorus that is the purpose of the WWTP.

Legislative framework for waste water treatment

- All surface water and ground water must be of good quality in 2015 according to WFD.

- The aim is to protect the water stocks, lower the impact of droughts and use water in a sustainable way

- Because we are concerned with the public health, waste water must be treated

- Any city with 10 000 inhabitants has to have a WWTP

- Polluter pays principle: the cost of WWTP is included in the bill of  potable water

- People are not close together and are scattered which makes difficulties in collecting waste water , another challenge is that the sewer system collect both waste water and rain water in a one pipe this cause a problem during heavy rainfall due to overflows

Biological treatment of waste water

- The biological treatment is good because it avoids the excessive use of chemicals, bacteria are given oxygen and use waste water organics as food, they use this food to grow and produce CO2 and removes nutrients.

- In activated sludge, the active bacteria (sludge) are in suspension and settled in a secondary clarifier and are returned in a suspended sludge tank.

- The following pre-treatment is done before entering the biological treatment: bar screen or rack, grit removal, fat trap, primary settler to remove coarse solids which decant rapidly.

- The water flowing over the final clarifier should be free of dissolved and suspended organic matter and contains a minimum of mineral components such as ammonium, nitrate and phosphorus because they can induce eutrophication.

- The maximum level of total nitrogen is 15mg/l and for phosphorus is 2 mg/l

Categories of biological treatment of waste water

- 2 categories exists based on the way organism grow

- Activated sludge: Suspended in the liquid

- Attached to a support system: oxidation bed or trickling filters: packing material , rotating discs and fluid bed reactors: fluidized sand particles

Historical and General Principle of an activated sludge

History

- The Greeks and Romans were using activated sludge before

- In 1913 the 2 engineers in UK, Ardern and Lockett blew air in the tank of waste water to avoid the smelly on Friday and when they returned on Monday, the water looked much cleaner and the solids contained in it could be used to treat more waste water. The sludge was activated to clean waste water, they were activating the sludge.

Principle

- A community of microorganisms is constantly supplied with organic matter and oxygen in a reactor. You need a complex community of microorganisms because many components are present in waste water.

- Microorganisms consume organic matter and by means of aerobic metabolism, they transform partly of the organic matter into new microbial biomass and partly into CO2, water and minerals.

- The flow of the water brings about a constant wash out of microorganisms from a reactor to the settler

- In a settler, the microorganisms which grow in flocs and have acquired a density sufficient to decant are retained and removed with the underflow

- Part of this sludge is then recycled to provide biomass to treat the new influent and the surplus amount is wasted

- You remove more than the biodegradable because some compounds sorbs on the sludge and sediment

- The purpose is not to produce the biomass but to mineralize as much as possible, it is important to minimize biomass production since the latter has to be removed and treated in a subsequent phase.

- There is then a need to select a microbial community which mineralizes at a fair rate and produces a minimum of new biomass. The system operated in such way that the substrate is limiting and microbial biomass is quasi starving to allow cells growing slowly and in flocs

- The difference between activated sludge and the fermentation is that active biological components comprises not a pure culture but an association of bacteria , yeast, fungi, protozoa and higher organisms such as rotifers. Another difference is that sludge consists an important part out  of dead cells and cell debris

- The following reaction occurs in activated sludge

- Sorption of soluble, colloidal and suspended organics in and on the sludge flocs

- Biodegradation of organics and synthesis of new biomass

- Ingestion of bacteria and other suspended matter by protozoa or other predators

- Oxidation of ammonium to nitrite and further to nitrate by nitrifying bacteria

- Oxidation of cell reserves resulting in sludge mineralization and lysis in case of insufficient supply of waste.

- Flocculation and coagulation

- Decantation of large cell flocs

Diagram of activated sludge

- The influent flow with the soluble organic matter, insoluble organic matter, soluble inorganic matter and insoluble inorganic matter enter a preliminary physical unit operations where insoluble inorganic matter are removed and disposed after additional treatment

- The remaining with is soluble organic matter, insoluble organic matter, soluble inorganic matter enter the sedimentation tank and the underflow which is the some insoluble organic matter is removed and it is the primary sludge

- The remaining soluble organic matter, some insoluble organic matter, soluble inorganic matter enters the biochemical operation where some organics are mineralized and transformed to biomass.

- After the biochemical operation the content has some soluble organic matter, insoluble organic matter, soluble inorganic matter and biomass and is send into a physical operation unit which is a sedimentation tank where the biomass and insoluble organic matter sediment and the underflow is removed and is the secondary sludge. Additional treatment of the overflow is done and the effluent is obtained.

- Part of this secondary sludge is recycled and sends back into the biochemical operation unit and part is mixed with the primary sludge.

- The mixture of the sludge (primary and secondary) is blended and thickened and send to the biochemical operation and the stable residue and biomass from this unit is thickened and dewatered to obtain a stable residue and biomass which can be disposed.

Basic process (aspects) that vary independently

- Configuration

- Conventional completely mixed: with either Sequential or continuous sedimentation where waste water and return sludge is completely mixed in aeration basin.

- Plug plow: the return sludge is mixed with the incoming waste water before aeration basin. We have the gradient in substrate or aeration supply. The plug plow is good because you can vary the conditions

- Contact stabilization: use the absorption-biodegradation process; it has an aerated contact chamber in which organics are rapidly removed by bio-sorption on the sludge, the liquor is then separated and the sludge is further aerated in the second stabilization chamber. The process requires microorganisms with a high sorption capacity, and large reactor volumes. The good thing is that it maximizes the organics recovery and thus more biogas production during anaerobic degradation.

- loading rate

- high rate

- conventional low rate

- very low or so called extended aeration

- aeration

- surface aeration

- submerged aeration

- biomass retention

- gravity

- membrane filtration

Parameters used in environmental biotechnology

Chemical oxygen demand

- the amount of oxygen required to oxidize by chemical means organic carbon completely to CO2

- In practice the organic matter is oxidized by K2Cr2O7 under rather stringent condition of concentrated sulfuric acid medium at 150 degree centigrade. Dichromate is transformed to Cr3+ and iron sulfate is used to reduce the dichromate in titration, ferroin indicator is used.

- The COD is derived from the stoichiometry as follow:

- For a molecule of C6H12O6, we calculate first the electron in glucose: 6*4+12*1+6*-2= 24+12-12=24electrons means 6 oxygen molecules and the equation can be written as:

C6H12O6 +6O2            6CO2+6H2O. The molar mass of glucose is 180 g/mol and the molar mass of 6O2 is 192g/l, the ration of oxygen required per glucose is then 192/180= 1.06g COD. 1g of glucose is equal to 1.06g COD

- For the C5H9NO4 molecule, the number of electrons are 4*5+1*9+-3+-2*4=20+9-3-8= 18 electrons, the oxygen molecules required are 18/4=9/2 O2. The equation can be:

C5H9NO4+9/2 O2        5CO2+3H2O+NH3, the molar mass of glutamic acid is 147 and the molar mass of 9/2 O2 is 144, the ratio = 144/147=0.98 g COD

- As a rule of thumb , 1 g of carbohydrate or protein equals 1g COD

- The COD does not comprise the oxygen to convert the reduced nitrogen to nitrate but the reduced sulfur is included in a COD value as the sulfur is oxidized to sulfate by the chemical reagents

- The COD is important in that it permits to quantify both dissolved and particulate organic matter. It allows considering all organics in waste water in one term. Pharmaceuticals are not going to be degraded , they are recalcitrant

Total organic carbon

- By means of combustion at 800 degree centigrade, the organic matter is oxidized to CO2 in presence of a catalyst; the CO2 liberated is measured by the infrared. The inorganic carbon from carbonates is also measured and must be corrected for.

- Because the COD cannot be measured at the treatment plant but requires the laboratory and it is better to get it from the field because the rain dilution and the properties of the flow change. The TOC helps you to monitor very variable flow regime as the measurement is rapid and inexpensive, you measure the COD in the lab and TOC on the field and use the ratio of COD/TOC.

Biological oxygen demand

- The BOD is the measure the dissolved oxygen used by microorganisms in the biochemical oxidation of organic matter. It is the cumulative amount of oxygen in mg/l or mg/kg used by non-photosynthetic microorganisms at 20 degree centigrade to metabolize biologically degradable organic compounds:

- The principle:

- The waste water is pot in a closed vessel in the presence of microorganisms and dissolved oxygen concentrations are measured before and after incubation.

- The incubation occurs in the dark to prevent false results due to oxygen production and uptake by photosynthetic active organisms like algae.

- Biologically degradable organic compounds: Carbohydrates, proteins, hydrocarbons in presence of microorganisms and oxygen are transformed to CO2, H2O, NH4+, no nitrate formation, the nitrification of NH4+ is inhibited by using the selective nitrification inhibitor: allylthiourea(ATU), nitrapyrin

- The BOD5 is most widely used parameter to monitor the organic pollution of both waste water and surface water

- Appropriate environmental conditions for this test are:

- Neutral PH

- Presence of sufficiently large acclimatized microbial inoculums (104 adapted viable bacteria/ml )

- Presence of adequate amounts of necessary mineral nutrients for microbial growth: N,P,Ca,Mg,Fe,S

- Incubation in the dark

- Microorganisms achieve a maximum cell yield of about 0.4gcell dry weight/ g COD removed, which is about 0.53 g biomass COD

- 1 g cell dry weights corresponds with about 1.33g COD and contains 0.5 g of C.

- 0.4g is the maximum cell yield without considering the maintenance metabolism of the bacteria; 0.1g/g biomass is consumed on average by the respiration of bacteria. This makes the BOD5 to be variable depending on the size and adaptation of inoculums.

Fraction of biodegradable organics

- After a long incubation, there will be a complete mineralization and you get the ultimate BOD or BOD∞, the value of the ultimate BOD approaches the initial COD value, the ultimate BOD is the biodegradable COD or b COD and is equal to COD*Fb(biodegradable fraction of OM)= BOD5/0.65

- BOD5=COD*Fb*0.65= bCOD*0.65

- BOD=BOD∞(1-10-kt), at day 5, and the biodegradation rate of 0.1/day we have BOD5=BOD∞(1-10-0.1*5)

=BOD∞(1-10-0.5)= BOD∞(0.68) which shows that the bCOD=BOD∞

- Fb=BOD5/(0.65*COD)

- bCOD=1.5BOD5 for a single sample

- Summary of BOD and COD concept

- The total COD comprise the biodegradable COD and non biodegradable COD

- The biodegradable COD has the readily biodegradable part: complex and VFA and the slowly biodegradable part: colloidal and particulate

- The non biodegradable COD comprise the soluble non biodegradable and particulate non biodegradable COD

Nitrification oxygen demand

- the NOD is the oxygen demand associated with the oxidation of ammonia to nitrate and is 4.57 g

- After organic the nitrogen and phosphorus are important parameters that have to be removed. Anything that has ammonia is called the (TKN).

- Total kjeldahl nitrogen(TKN) is the total ammonia nitrogen(TAN) and the organic nitrogen

- The organic nitrogen has the soluble and particulate biodegradable organic nitrogen and soluble and particulate non biodegradable organic nitrogen.

- The ammonia has to be removed by oxidation to nitrate, the reaction are:

- NH4+ + 3/2 O2         NO2- + H2O +2H+

- NO2-+1/2 O2       NO3-

- NH4+ +2O2        NO3- +H20+2H+

- For a 1g NH4+, autotrophic bacteria transform 0.95g to nitrate and 0.05g to biomass. The efficient of conversion of ammonium to nitrate is then 95%.  Thus the required to convert 1 g of ammonia to nitrate is (64/14)*0.95= 4.33 g. we can write that:

- NOD= (Nav-Nimmob)*4.33 with Nav as the organic nitrogen that is biodegradable plus NH4+ and Nimmob, the nitrogen converted to biomass

- Nimmob= COD*Fb*YCOD*0.05=COD*Fb*0.02

- Calculate the NOD assuming that the effluent nitrogen is zero of the industrial waste water with the following composition: COD=2500mg/l; BOD5=1500mg/l, NH4+= 200mg/l , kjeldahl N= 275 mg/l

- Fb=BOD5/0.65*COD= 1500/0.65*2500=0.92

- Organic nitrogen = 275-200= 75mg/l

- In this 75 mg /l , 0.9 mg is the fraction that is biodegradable which is 67.5 so the nitrogen available Nav= 200+67.5= 267.5

- Nimmob=COD*Fb*0.02=bCOD*0.02= 1500*0.02=30mg/l

- NOD= (265.5-30)*4.33=1020 mg/l

Total oxygen demand

- The total oxygen demand is the oxygen required to oxidize all compounds present in waste water ( organics, nitrogen, sulfur)

- For the waste water not reach in sulfur compounds TOC= COD+NOD-NOE with NOE; the oxygen recovered during denitrification.

- The TOD has application in industry and does not indicate which fraction is organic or inorganic. TOD apparatus are available.

Total solids, total suspended solids, volatile suspended solids and total dissolved solids

- Total solids is determined by taking the waste water and dry it at 105 degree to constant weight, the residue remaining after drying is called total solids

- The total suspended solid is determined by filtration of water with 0.45μm filter and drying in oven at 105 degree. the particulate matter obtained contains both suspended inorganic and organics

- The volatile suspended solid is obtained by dry ashing the suspended solids at 600-650 degree and the amount of ash is subtracted from the total suspended solid. The VSS represent the amount of organic matter present in particulate form.

- The total dissolved solid is comprised of colloidal and dissolved salts and is: TS-TSS.

Terms used in environmental biotechnology

Mixed liquor and mixed liquor suspended solids

- Mixed liquor is a mixture of sludge and water in aeration basin

- The mixed liquor suspended solids is the total amount of sludge present in the mixed liquor.

- An activated sludge systems has 4 kg dry weight of MLSS/m3 mixed liquor

- The efficiency of activated sludge treatment depend both on degradation activities of the biomass and on the separation of total suspended solids from the effluent in the final clarifier. The VSS are used as a reasonable approximation   of both active biomass and total sludge.

Sludge volume index (SVI)

- Is the volume occupied by one gram of sludge(MLSS) after 30 minutes of sedimentation

- Good settling sludge has 40-60 mg/g DW of SVI and the bulking sludge has 200mg/g DW.

- In case the sludge sediment poorly (200mg SVI and 4g/l of SS, 20% of the supernatant) the decanter will have to be operated with a high underflow rate which result in a high recycle ratio.

Sludge loading rate (Bx)

- Is the amount of substrate given each day to bacteria to metabolize. The substrate is usually expressed in COD or BOD, the bCOD is more meaningful because it reflects the total amount of organic matter which is biodegradable.

- In practice the Bx=0.15 kg BOD5/Kg VSS.d = 0.25kg bCOD/Kg VSS.d

Volumetric loading rate (Bv)

- Is the amount of substrate introduced per m3 reactor and per day and is equal to X*Bx

- In practice it is equal to 4 kg SS/m3*0.25kg bCOD/Kg VSS.d= 1 kg bCOD/m3*d

- The loading up to 2kg bCOD/m3*d is the maximum you can have.

- you cannot load more than this 2 kg bCOD/m3*d because you will end up with too much sludge and it will not settle

Hydraulic residence time

- Is the time the water resides in the aeration system and is given by: V of reactor in m3/Q in m3/h. in practice it varies from 8 hour to several hours.

Solids or cell residence time

- It is the average time of residence of the sludge in aerated system and is controlled by the rate of sludge withdrawal from the reactor. It is in the range of 10-20 days

- The solids residence time is higher than the hydraulic residence time because sludge is recycled.

- Note that 50% of operational WWTP cost is spent in sludge handling

Sludge production and yield

- The amount of biomass formed DW per kg of substrate removed and varies according to the type of waste water and treatment parameters imposed like temperature, Bx and PH.

- Generally 0.4 kg sludge (DW) is formed per kg COD biodegraded.

Oxygen supplied

- The oxygen required depends on the type of treatment and comprise only the bCOD load and the NOD loads together.

- Normally one provides 1.5-2.5 times the amount of oxygen strictly required by the substrate. In other word the oxygenation capacity to load ration should be in the range of 1.5-2.5

Removal efficiency

- The activated sludge treatment of domestic sewage should achieve 90% or more on COD and 95% or more on SS and BOD5.

- ECOD=[(Co-Ce)/Co]*100 where Co and Ce are the influent and effluent COD respectively

Process design and bio-kinetics

Factors for design of activated sludge:

- Substrate concentration

- Substrate utilization

- Cell yield

- Growth rate

Heterotrophic bacteria are primary agents in removal of biodegradable carbonaceous matter. Part of organic is oxidized to CO2 and minerals and the energy is obtained, other part is assimilated into new cells.

Cell yield and maintenance

- Activated sludge: is composed of active microbial community, an assembly of populations of distinguishable microbial types.

- The cell growth and yield determine the overall biomass growth and surplus sludge production

- The yield should proportional to the free energy of substrate oxidation.

Y=k1NATP=k1k2.F=k1k2k3.COD

with Y: the cell yield in g cell dry weight synthesized/ mole substrate utilized , k1,k2,k3 are the proportionality constant, NATP: mole ATP synthesized from metabolism of 1 mol substrate , F: free energy change for oxidation of an organic compound , COD: chemical oxygen demand.

The cell yield coefficient for aromatic, alcohols and fatty acids is = 0.32 COD, for carbohydrates and tri-carboxylic acid cycle intermediates is 0.38 COD. These values are considered for a cell residence time of 1-5 days, but in waste water treatment, the biomass is generally retained much longer in the reactor system.  Cells can maintain themselves that is why the production of sludge is not too much and the sludge is recycled

- μ=1/θx: The specific growth rate of the biomass x (g DW/L) is equals to the change in biomass in function of time divided by the biomass (x):

μ = (dx/dt)/x= 1/x*dx/dt

θx is the sludge residence time

- q: The specific substrate removal rate is equals to the change in total substrate in function of time(dc/dt=g COD removed/g biomass per unit time) divide by the biomass (x)

q= (dc/dt)/x= 1/x*dc/dt

- dx/dt is equal to the change in total substrate( soluble+ suspended g COD/l) in function of of time(dc/dt) times the maximum cell yield coefficient(YmaxCOD) minus the biomass decay coefficient(b in g of biomass dies away/g biomass present per unit time).

- μ=1/x*dx/dt=1/x*YCOD*dc/dt-b  = 1/x dc/dt*YCOD-b

= q*YCOD-b

- YCOD is the g Dw /g COD removed, the COD that is used should be bCOD.

Substrate utilization

- The equation that describe the rate of substrate utilization is based on the principle of Monod:

- q= 1/xds/dt= (qmax S)/(Ks+S), with qmax: maximum rate of substrate utilization, S: soluble substrate in g COD/L, Ks: half saturation constant, the concentration of substrate at which q=qmax/2, X: g of VSS/L

- typical average of  qmax is 5 g bCOD/g x.day and typical average of  Ks is 0.05 g bCOD/ L

- mass balance: rate of accumulation of microorganism within the system boundary= rate of flow of microorganisms into the system boundary + net growth of microorganisms within the boundary- rete of flow of microorganisms out of the system boundary

Completely mixed reactor

- no sludge recycle, the hydraulic residence time is equal to the sludge residence time

- the influent flow(Q in m3/day) with initial substrate concentration(So)  flow into the tank and in the tank  you have the volume of the reactor (V in m3) with the sludge concentration(X) and substrate concentration(S) and what goes out the tank is the effluent(Q) with Substrate(S), and the sludge concentration(X)

- the mass balance for microbial biomass is given by:

Vdx/dt=μVX- Qx , μVX in the tank( μVX) and out the tank(Qx)

at the steady state: Vdx/dt=0, μVX- Qx=0, μVX = Qx

μ= Q/V=D=1/θx=YCOD*q-b, D is the dilution ratio.

- By combining the equation of q= 1/xds/dt= (qmax S)/(Ks+S) and the equation Vdx/dt=μVX- Qx

q= (qmax S)/(Ks+S); (Ks+S)q=qmaxS

- we know that 1/θx=YCOD*q-b, from this equation we can find q:

1/θx+b=YCOD*q; (1+bθx)/ θx=YCOD*q

q=(1+bθx)/θxYCOD

- by replacing the value of q in the equation (Ks+S)q=qmaxS; we get:

(Ks+S)(1+bθx)/θxYCOD = qmaxS;

(Ks+S)(1+bθx)= qmaxS*θxYCOD

Ks(1+bθx)+S(1+bθx)= qmaxS*θxYCOD

Ks(1+bθx)= qmaxS*θxYCOD-S(1+bθx)

Ks(1+bθx)= S(qmax*θxYCOD)-S(1+bθx)

Ks(1+bθx)= S(qmax*θxYCOD-1-bθx)

S= Ks(1+bθx)/ (qmax*θxYCOD-1-bθx)

S= Ks(1+bθx)/ θx(qmax*YCOD-1/θx-b)

S= Ks(1+bθx)/ θx(qmax*YCOD-b)-1 which is the equation of the relation between Substrate(S) and the residence time(θx)

- from the sludge balance it can derived:

YCOD (so-s)Q= μXV + bxv with μXV as the substrate used to generate biomass and bxv as the the substrate used to maintain biomass.

- From this YCOD (so-s)Q= μXV+bxv, we can find x

YCOD (so-s)Q= xv(μ+b)

X=YCOD (so-s)Q/v(μ+b), with the volume = flow * residence time: V= Q*θx

X=YCOD (so-s)Q/Q*θx (1/θx+b)

X=YCOD (so-s)/θx (1/θx+b)

X=YCOD(so-s)/(1+bθx) which is the equation of the relation between biomass(X) and the residence time (θx)

- The relationship between S and θx resp X and θx is plotted please check the plot on the hand out

- The longer the water stay in the tank, the substrate are consumed, the biomass increase and the biomass decrease after a certain time when the substrate are becoming lower and lower.

- Smin and θx min are derived from the equation of relation between substrate and the residence time, The Smin is reached at the infinite residence time and at infinite θx, Smin= K(b)/Yq-b

- The residence time minimum is obtained as follow :

S= Ks(1+bθx)/ θx(qmax*YCOD-b)-1

Ks(1+bθx)= Sθx(qmax*YCOD-b)-S

Ks+Ksbθx+S= Sθx(qmax*YCOD-b)

Ks+S= Sθx(qmax*YCOD-b)-Ksbθx

Ks+S= θx[S(qmax*YCOD-b)-Ksb]

θx=(Ks+S)/S(qmax*YCOD-b)-Ksb

θx=(Ks+S)/S*qmax*YCOD-Sb-Ksb

θx=(Ks+S)/S*qmax*YCOD-b(S+Ks)

1/θx= S*qmax*YCOD-b(S+Ks)/ Ks+S

1/θx= (S*qmax*YCOD)/Ks+S-b(S+Ks)/ Ks+S

1/θxmin= (So*qmax*YCOD)/(Ks+So) -b

If So>>>Ks, the term Ks become negligible and the

1/θxmin= (So*qmax*YCOD)/So –b

1/θxmin= (qmax*YCOD)–b

θxmin= 1/(qmax*YCOD)–b

- The volume of the reactor can be derived as follow

μxv=Y(So-S)Q=XQ

1/θxXV=[YCOD(so-s)/(1+bθx)]Q

V=[YCOD(so-s)/X(1+bθx)]Q*θx

- The total amount of excess biomass produced per day is given by: ΔX=QX(gDw/g)= QYCOD(so-s)/1+bθx

Completely mixed reactors with cell recycle

- The decanter separates the clear supernatant from the concentrated sludge

- Part of the sludge is recycled (QR) and the excess sludge is wasted (QW).

- the influent flow(Q in m3/day) with initial substrate concentration(So)  flow into the tank and in the tank  you have the volume of the reactor (V in m3) with the sludge concentration(X) and substrate concentration(S) and what goes out the tank is the effluent sludge concentration (Xe) with Substrate(S), and the recycled sludge( Q-QW)

- the Total mass balance for microbial biomass is given by: Vdx/dt=μVX-[QwXr+(Q-QW)Xe] , μVX in the tank and out the tank [QwXr+(Q-QW)Xe]

- at the steady state and adequate operation Xe=0,

μVX- QWXR=0, μVX = QWXR

μ= QWXR/VX=1/θx=YCOD*q-b

- for this system one can derive the substrate concentration in the effluent as:

S= Ks(1+bθx)/ θx(qmax*YCOD-b)-1

- from the sludge balance it can derived:

YCOD (so-s)Q= μXV + bxv with μXV as the substrate used to generate biomass and bxv as the the substrate used to maintain biomass.

- From this YCOD (so-s)Q= μXV+bxv, we can find x

YCOD (so-s)Q= xv(μ+b)

X=YCOD (so-s)Q/v(μ+b), with the V = flow * hydraulic residence time: V= Q*θh , in this case the hydraulic residence time for water is different from the sludge hydraulic time because the sludge is recycled.

X=YCOD (so-s)Q/Q*θh (1/θx+b)

X=YCOD (so-s)/θh (1/θx+b)

X=θx/θh*YCOD(so-s)/(1+bθx) which is the equation of the relation between biomass(X) and the residence time (θx)

- The volume of the reactor can be derived as follow

μxv=Y(So-S)Q=XQ

1/θxXV=[YCOD(so-s)/(1+bθx)]Q

V=[YCOD(so-s)/X(1+bθx)]Q*θx

- The total amount of excess biomass produced per day is given by: ΔX=QWXR(gDw/g)= QYCOD(so-s)/1+bθx

- Note also that:

- θx= VX/(QWXR)+(Q-QW)Xe= VX/QWXR; QW=VX/θxXR

- the oxygen demand for the removal of the organic carbon( nitrification not taken into consideration) is given by: OD=Q(So-S)-1.33ΔX ; indeed one sludge of waste corresponds with 1.33kgCOD removed in that form

- the solids balance around the sedimentation tank under steady state conditions is given by

- (Q+QR)X=(QR+QW)XR+(Q-QW)Xe; as Xe=0 generally and Qw is quite small which means (QR+Qw) is approximately equal to Q, one obtains : QR/Q=X/XR-X

- This indicate that the recycle ratio R=QR/Q is highly dependent on the thickening of biomass in the settler. The recycle ratio depends on how well the sludge is compacted well, the better it is compacted, the lesser you have to recycle.

- In practice the sludge concentration rises from about 4 g VSS to 8 g VSS which corresponds to a recycle ration of 1.

Plug plow with cell recycle

- The concentration of substrate and in the lesser extend of biomass are changing as the mixed liquor  moves along the reactor

- The following relations apply: check in summary and notes

- The substrate concentration of the effluent is not the one existing in the reactor because of the diluting effect of the recycle flow on the inflow which has to be taken into consideration

Total nitrogen removal

Nitrogen cycle    (check the diagram in the notes)

- Biological fixation on nitrogen is a process by which atmospheric nitrogen (N2) is converted by symbiotic (rhizobium) and free living micro-organisms to organic nitrogen in the form of amino acids.  Fixation of N2 gas from the air (assimilative pathway), the enzyme involved is the nitrogenase (NIF).

C6H12O6 + 6 H2O + 4 N2 + 8 H+ → 6 CO2 + 8 NH4+

- Ammonification is a process of converting the organic nitrogen to inorganic form through ammonification and mineralisation. The first step which is proteosis convert organic nitrogen to amino group(R-NH2) and then R-NH2 to ammonium by microorganisms.

- Assimilation: The ammonium produced from ammonification can be taken by plants or microorganisms and be transformed again to organic nitrogen

- Nitritation: the ammonia oxidizing bacteria(AOB)  oxidize ammonia to nitrite

NH4+ +3/2O2            NO2-+2H++ H2O + 275 KJ

Nitrite can be reduced back to ammonium means of enzymes. During the process there should be the formation of the NH2OH as the intermediate.

- Nitratation: nitrite is then further oxidized to nitrate by the nitrite oxidizing bacteria ( NOB) or anammox bacteria.

NO2-+1/2O2            NO3- +75 KJ, it is possible that nitrate can be reduced back to nitrite by enzymes in the denitratation process.

- Denitrification is the process by which nitrate is dissimilated to nitrogen gas in a series of process by means of enzymes. NO3-       NO2-       NO      N2O      N2 in this process the nitrate functions as an acceptor of reducing equivalents. The COD is used as an electron donor and nitrate is an electron acceptor. By methanotrophic denitritation the NO can be transformed directly to N2 without passing through the N2O step, the oxygen is required. Anammox can transform both NH4+ and NO directly to N2 without passing through other steps, N2H4 is required in this transformation.

Division of nitrogen compounds

- Total nitrogen: is the total Kjeldahl nitrogen and total oxidized nitrogen. The total nitrogen comprised of  organic, ammonia, ammonium, nitrite and nitrate

- total Kjeldahl nitrogen: is the organic nitrogen and total ammoniacal nitrogen,

- total oxidized nitrogen: is the nitrite and nitrate forms of nitrogen

- total ammoniacal nitrogen: is the ammonia and ammonium nitrogen

Why to remove nitrogen

- in order to avoid toxicity to fish life: During the aerobic treatment the nitrogen is set free as ammonium and the dissociation of ammonium can give free ammonia depending on PH and temperature. Free ammonia is toxic to fish at a concentration of 1 mgN/l. Due to the consumption of dissolved CO2 by algae the PH of surface water can attain a high PH value above 9 and at this PH; the dissociation of ammonium to ammonia becomes important and is higher than 20%.

- Discharge of ammonium into surface waters will result in nitrification and exert a significant oxygen demand which might severely deplete the dissolved oxygen resources of the surface waters and endanger fish survival

- Eutrophication: nitrogen is the limiting nutrient and will cause the algal bloom. The high levels of nitrate in the effluent of activated sludge plant increase the risk of eutrophication in the receiving water body. the principal routes by which the nitrate reaches surface waters are domestic and industrial effluents and leaching and run off from agricultural soils

- Once the nitrate reaches the surface water, it can be found also in drinking water and we don’t want to have high nitrate in drinking water because high nitrate in drinking water is toxic to infant. The standard in drinking water is 50mg NO3/l

How to remove nitrogen

- Ammonia is removed by 2 sequential processes: nitrification in which the ammonium is oxidized to nitrate and denitrification in which nitrate is reduced to nitrogen gas. The combination of nitrification and Anammox remove NO3- and Ammonia.

- In summary the processes that remove nitrogen are: nitrification (nitritation and nitratation), denitrification and anammox.

Nitrification

- During nitrification, the first group of bacteria which are the ammonia oxidizing bacteria(AOB) represented by the members of genera nitrosomonas and nitrospira oxidize ammonia to nitrite that is then further oxidized to nitrate by the second group of bacteria which are nitrite oxidizing bacteria( NOB) represented by the members of the genus nitrobacter and nitrospira.in the first step of the nitrification, ammonia is the electron donor and not organic nitrogen because the organic nitrogen was transformed no ammonium during aerobic oxidation.

- The oxidation can be written as:

NH4+ +3/2O2            NO2-+2H++ H2O + 275 KJ

The oxidation number of ammonium is (-3) and the oxidation number of nitrite is (+3), which means                            6electrons liberated to reduce O2.

- NO2-+1/2O2            NO3- +75 KJ

Nitrite has the oxidation number of (+3) and the nitrate has the oxidation number of (+5) which means 2 electrons liberated.

- The overall reaction :

NH4+ +3/2O2           NO2-+2H++ H2O + 275 KJ: Nitritation

NO2-+1/2O2            NO3- +75 KJ: nitratation

- NH4+ +2O2            NO3-+2H++ H2O + 350 KJ

- The oxidation number of ammonium is -3 and the oxidation number of nitrate is +5, in total 8 electrons atom N are liberated

- 2 moles of oxygen are required to oxidize one mole of ammonium and  2 moles of oxygen is 2mol*32g/mol and one mole of nitrogen is 1mol*14g/mol. 64g of oxygen are required for 14 g of Nitrogen. Which means 64g O2/14gN= 4.57mgO2/mgN. In practice it is less than this (4.33mgO2/mgN) because some ammonia is transformed into biomass.

- 350KJ is produced; this energy produced is used in synthesizing cell material from hydrogen carbonate. As a consequence of the relative low amounts of energy released and the high amounts required for cell synthesis, the cell yield is quite low.

- 2mol of H+ are produced and this acid production may result in the decrease of PH in poorly buffered waste water and lead to loss of process stability. These 2 mol of H+ corresponds to the consumption of 1 mol CaCO3, and they are from oxidation of one mole of nitrogen. One mole CaCO3 is consumed by the nitrification of one mole of N, 100g CaCO3/ 14 g N= 7.2 g CaCO3/ g N. if the nitrogen concentration in the waste water is 50mgN/L means  7.2 g CaCO3*0.05g N= 0.36g= 360mg CaCO3/L is needed to buffer the decrease in PH.

- Note that all calculations should be based on Nitrogen and not ammonium or nitrate if you are given the amount of nitrogen in the form of ammonium, nitrate or ammonia; you have to change it into N-NH3 form. Suppose that you have 12.9 mg NH4+, this is equal to =(12.9*62)/18 = 44.3NO3-N = (12.9*14)/18=10 mgN-NH3=

The general requirements for growth of the nitrifiers

- The optimum PH is 7.5, at PH values below 7, the process slows down. The system works between PH of 5-9

- The minimum dissolved oxygen of 0.5 mg O2/L. the oxygen requirement in g/l is NOD= 4.33( Nav-Nim-Ne) with Ne: nitrifiable nitrogen in the effluent

- Temperature between 5-40

- The inhibitory level of free ammonia for Aerobic ammonia oxidizing bacteria is 8-120 mg N/L and for nitrite oxidizing bacteria is 0.08-0.82

- The inhibitory level of free nitrous acid for Aerobic ammonia oxidizing bacteria is 0.2-2.8 mg N/L and for nitrite oxidizing bacteria is 0.06-0.83

- nitrifiers grow slowly as compared to the organotrophic that is why the cell residence time of about 5 times their maximum doubling time must be respected( 10 day or more)

- To start nitrification you have to inoculate with nitrifying sludge or with fertile soil. The initial NH4+ should be low and initial loading rate should be kept low at 0.020kgN/m3/d.  the loading rate can be increased then gradually up to 1.5 kg NH4+ provided that the PH is controlled between 7-7.5

Characteristics of the nitrifiers

- Nitrosomonas : strictly authotrophic , the minimal doubling time is 0.4-2.5 days but in practice is 3-10 days, the specific growth rate is 0.3-2/day , the maximum cell yield is 0.29g cell DW/ g N, the cell decay is 0.24, the specific rate of substrate removal is 1 g N/ g VSS/day, the Ks for energy substrate is 0.04-5.6 and 0.3-1.3 for O2 supplied, the inhibitors are few mg/l of thiourea and nitrapin.

- Nitrobactor: facultative authotrophic, the minimal doubling time is 0.5-2.5 days but in practice is 5-10 days, the specific growth rate is 0.3-1.5/day, the maximum cell yield is 0.08g cell DW/ g N, the cell decay is 0.04, the specific rate of substrate removal is 2 g N/ g VSS/day, the Ks for energy substrate is 0.05-8.4 and 0.25-1.3 for O2 supplied, the inhibitors are KClO3: 120mg/l and Dinoseb: 100mg/l.

Denitrifiction

- Is the process by which nitrate is dissimilated to nitrogen gas, in this process the nitrate functions as an acceptor of reducing equivalents. The COD is used as an electron donor and nitrate is an electron acceptor.

NO3-       NO2-       NO      N2O      N2

- Heterotrophic aerobic micro-organisms transfer electrons from COD which is the electron donor to the nitrate which is an electron acceptor.

- 5C6H1206+24NO3+24H+       12N2+30CO2+42H2O

-562.5 kj/mol N

5C6H1206+30O2        30CO2+30H2O -480KJ/mol O2

- If the denifrication is performed less oxygen is required as some of the energy is recovered from the reduction of nitrate, because the nitrate is used in the replacement of oxygen and the energy is recovered from this reaction.

- Denitrification results in a PH rises because one mol of H+ per mole of N is consumed which is different with nitrification where 2H+ are produced. In total one mole is produced during nitrification-denitrification reactions

- For the nitrification process 8 electrons atom N are liberated and corresponds to 5.57 mg O2/mg N, in denitrification the oxidation number of nitrogen in NO3- is +5 and the oxidation number of N2 is O which means 5 electrons atom N are consumed which corresponds to (4.57*5)/8= 2.86 mg O2 /mg NO3-N recovered . Therefore the denitrification allows at best 2.86/4.57= 62.5% recovery of the nitrification oxygen demand.

- 5C6H1206+24NO3+24H+ 12N2+30CO2+42H2O, according to this reaction 5*180*1.06=960g bCOD and corresponds with 24*14=336 g NO3-N.

- This available nitrate is sometimes expressed in Nitrogen oxygen equivalents (NOE) which is an equivalent mass of oxygen that would accept as many electrons as the amount of nitrate or nitrite during reduction to nitrogen.

- One moles of nitrate accept 5 electrons in the denitrification reaction and 2 moles of oxygen accept 8 electrons in the nitrification reaction. For the oxygen to accept the same electrons as nitrogen we need to multiply 5 and 4 and we see that 4 moles of nitrate accept as many as electrons as 5 moles of oxygen. If we consider nitrite, we see that 4 moles of nitrite accept as many electrons as 3 moles of oxygen.

- 4*14 g NO3-N is equivalent to 5*32 g O2, 56 g NO3-Nis equivalent to 160 gO2, 1 g NO3-N is equivalent to 160/56 g O2= 80/28= 20/7 gO2. A consumption of one gram NO3-N is equivalent to 20/7 NOE, A consumption of one gram NO2-N is equivalent to 12/7 NOE.

- NOE=20/7NO3-N+12/7 NO2-N= in the equations given above NOE= 20/7*24*14= 960g NOE or 30*32=960g O2.

- The bacteria for denitrification are facultative aerobes, when oxygen is present they use it as electron acceptor and when it is absent modify the cytochrome system and use nitrate. They are not facultative anaerobes since they cannot use organic compounds as terminal electron acceptors.

- One of the problem in denitrification is that there could be not enough carbon and the performance fails.

- In the process of denitrification, if there is a problem in the last stage, you produce a green house gas N2O rather than producing N2.

The general requirements for growth of the denitrifiers

- Temperature range of 5 to 7

- PH range of 6-8, below 6 , the incomplete reduction can occur and the undesirable nitrite can accumulate

- Limited supply of dissolved oxygen to the cells

- Availability of appropriate electron donor

- Available of nitrate or nitrite as electron acceptor

Comparison between nitrification and denitrification

|  | Nitrification | Denitrification |
| --- | --- | --- |
| FORM Function Half reaction Organisms Environment Energy Electrons atom | Use NH4+ Electron donar Oxidation Authotrophs Aerobic Energy liberated 8electron liberated | Use NO3- Electron acceptor Reduction Heterotrophs Anoxic Energy recovered 5 e accepted |

Process design for the nitrification-denitrification

- 2 phases: post-denitrification

- In the first tank, we have a complete BOD oxidation and nitrification, it is an aerobic medium, the tank is aerated and all the COD is consumed

- The decanted effluent from this first reactor  is subsequently treated in the a second activated sludge reactor where the denitrification takes place, no aeration is provided but an extra source of reducing equivalents need to be added because all the COD has been consumed in the first activated sludge.

- The source of the reducing equivalent can be an inexpensive chemical such as methanol or a fraction of pre-settled sewage.

- Post-denitrification systems have a post-aeration zone following the anoxic zone to strip the nitrogen gas from the wastewater.

Pre-denitrification

- In pre-denitrification systems, raw wastewater or primary effluent first passes through an anoxic denitrification zone and then proceeds to an aerobic combined nitrification/BOD removal zone.

- Nitrate generated from the aerobic zone is recycled to the anoxic zone, where it is converted to nitrogen gas.

- The nitrogen gas generated in the anoxic zone is stripped out of the wastewater in the aerobic zone.

- Methanol is not typically used in pre-denitrification systems because the organic carbon in the influent to the anoxic zone is sufficient for the denitrifying bacteria.

- If the return sludge flow is equal to the waste water flow, the first stage of the reactor receives the equivalent of 50% of nitrified waste water.

- If the influent flow of sludge is Q in m3/h and is 1 and the recycling sludge flow is QR and is equal to Q, the recycling ratio is QR/Q= 1. After the recycling the influent flow will be 2 and the recycling ration will be 1 and the remaining sludge will be wasted. The efficiency in this case is 50%. If the recycle flow is 4 m3/h, the influent will be 5 and if the waste sludge will be 1, the efficiency is 4/5=80% and 20% of sludge are wasted, The efficiency = 1-1/(1+R)

= 1-1/ 1+4= 0.8

Cascade

- Waste water is divided into several compartments in which there is denitrification followed by nitrification, the recycling of the sludge is done after the last compartment and the sludge recycled is also divided into equal parts depending on the number of compartments and is recycled in the denitrification tank of each compartment. There is no need of adding extra carbon here.

- Check the schematic diagram in the notes

Single phase

- It is a flexible way to control oxygen capacity by constantly measuring the oxygen uptake rate in a small aerated control tank, no need to blow air when is not needed because oxygen is measured.

- The process use sensors to control the dissolved oxygen, Energy control, nitrate control, Oxygen Uptake Rate control and ammonium control

- Check the schematic diagram in the notes

Carrousel oxidation ditch

- It is a type of an activated sludge, where the reactor system is carefully designed and the process is controlled, it can remove most Kjeldhal nitrogen as N2

- The monitoring of nitrite and nitrate levels is performed in the mixed liquor

- By means of an ultrafiltration apparatus a clear filtrate is obtained in which the total oxidized nitrogen species can be monitored online.

Novel approach: Anammox and OLAND

- Anammox reaction is the anoxic ammonium oxidation of ammonium by using the bacteria to oxidize ammonium with nitrite under strictly anoxic condition to N2.

- In this reaction, there is no need of COD, the bacteria use ammonium as energy.

- In this anammox process, only half of the ammonium is oxidized to nitrite and not nitrate and after, the produced nitrite reacts with the remaining ammonium to form N2.

- The anammox do not convert only nitrite and ammonium but they use also Fe3+ and Mn4+, nitrite and nitrate as the electron acceptors and Fe2+, formate, acetate, propionate and methylamines as electron donors.

- In waste water containing high ammonium levels but low amounts of organics, this process can successfully be applied.

Process design for the anammox

- 2 reactor configurations: in the first reactor, the first process called SHARON (single reactor for high activity ammonia removal over nitrite) occurs; the ammonium is oxidized to nitrite in aerated reactor (partial nitritation). In the second reactor, the anammox process (ammonium anoxic oxidation) takes place in anoxic condition.

- One reactor configulation: it is also called CANON( completely authotrophic nitrogen removal over nitrite )or called  OLAND (oxygen-limited authotrophic nitrification/ denitrification). In this configuration partial nitritation and anammox takes place in the same aerated reactor. Nitritation takes place on the aerobic outer layer of a floc, biofilm or granule within the reactor whereas anammox takes place in the anoxic zones deeper in the biofilm.

Advantages of anammox process

- No requirement of an external oxidant(carbon source)

- Lower energy requirements due to lower aeration cost

- No CO2 emission from exogenous carbon

- Lower sludge treatment cost due to slow growth of the anammox bacteria

Limitation of anammox process

- Slow start up of the reactors due to slow growth of anammox bacteria

- Oland can achieve the removal of 89% due to the nitrate production of the anammox bacteria so the effluent need to be polished before discharge into environment

- combining the effluent from OLAND and the influent waste water will allow the removal of nitrate by denitrification in the anoxic activated sludge unit.

Production of N2O and emission during nitrification-denitrification

- NO2 is a potent green house gas, it is 300 times stronger than CO2 and it is ozone-depleting substance. This gas is produced from Nitrification, denitrification and pure chemical reaction processes.

Nitrification  production of N2O

- N2O can be produced during nitrification through oxidation of hydroxylamine (NH2OH) which is an intermediate in the oxidation process of NH4+ to NO2-, through the dissimilatory reduction of this formed NO2- to N2O by ammonia oxidizing bacteria.

- The formation of this gas via nitrification is due to low oxygen and high level of nitrite. Low oxygen can be caused by insufficient aeration, high organic loading combined to insufficient aeration.  High level of nitrite can be caused by insufficient aeration, low solid residence time, toxic compounds, low temperature, and high ammonium concentration.

Denitrification  production of N2O

- N2O can be produced during denitrification through incomplete denitrification.

- The formation of this gas via denitrification is due to high oxygen, high nitrite and low COD/N. high oxygen can be caused by the over aeration in nitrifying stage; high nitrite can be caused by COD limitation, nitrite transfer from nitrification stage. low COD/N can be caused by: influent characteristics or too efficient sedimentation

Chemical reaction production of N2O

- Purely chemical production of N2O can also take place through oxidation of NH2OH or NO2- reduction with organic or inorganic compounds.

Phosphate removal

Why to remove phosphate

- Phosphorus is usually the limiting nutrient, even if nitrogen can be available in high amount to plant but a shortage of phosphorus prevents the excessive growth.

- Phosphorus can give rises to eutrophication in surface water: Phosphorus discharges to surface waters from wastewater treatment plants (and non-point source runoff) can result in the proliferation of algae. Decaying algae can deplete the dissolved oxygen level, which can kill fish and other aquatic wildlife.

- Excessive algae can cause taste and odor problems in drinking water supplies.

How to remove phosphorus

Removal of phosphate by precipitation

- Phosphate can be removed by chemical precipitation with Fe3+, Al3+, Ca2+, Fe2+ or a combination of these.

- The application of these chemicals is quite attractive as these chemicals tend to concomitantly precipitate a part of the BOD

- The drawbacks of the precipitation methods are the high cost of these chemicals and the extra amounts of sludge produced.

- In the waste water with high calcium content( high alkalinity) there is a natural chemical precipitation and accounts for up to 50% of phosphorus removal

- in the forced chemical precipitation iron and alminium are dosed at a molar ration of 1-1.5 mol/mole P to be precipitated. This ratio can be decreased up to 0.2-0.4 mole/mole P in case the biological removal is combined with this chemical precipitation.

- In case the ratio of 1.5 mol Fe/mol P is used the FePO4 will be produced as sludge and the sludge production = (56*1.5+31+64)/31= 5 kg SS/ Kg P

Biological removal of phosphate

- Biological phosphorus removal is accomplished by the absorption of orthophosphates, polyphosphates and organic phosphorus in untreated wastewater into bacterial cell tissue and subsequently removing the cell tissue from the wastewater.

- Absorbing phosphorus into bacterial cell tissue is accomplished by subjecting the bacteria to alternating anaerobic and aerobic (or oxic) environments. In response to the alternating anaerobic and oxic environments, the bacteria absorb and store more phosphorus than they would under normal aerobic conditions.

- Anaerobic is a condition in which both dissolved oxygen and molecularly bound oxygen, such as in nitrate, is absent.

- Phosphorus-accumulating bacteria are heterotrophic, meaning they derive their carbon source from organic matter. They are also facultative, meaning they can survive in both aerobic and anaerobic environments.

- In order to survive in anaerobic environments, phosphorus-accumulating bacteria use stored polyphosphates as their energy source. During this survival process, stored polyphosphates are converted to and released as soluble phosphates.

- When these bacteria are subsequently subjected to aerobic conditions, they rapidly uptake soluble phosphates to replenish their phosphorus stores.

- The introduction of dissolved oxygen, or molecularly bound oxygen such as nitrate, into the anaerobic environment will inhibit the release, and subsequent uptake, of phosphorus.

- The process is called enhanced biological phosphate removal. The microorganisms are used to take up the phosphate from the water and to accumulate it in their cellular biomass.

- The process has 2 phases, the anaerobic phase and the aerobic phase.

Anaerobic phase:

- The water passes first through an anaerobic phase where the readily biodegradable COD (RBCOD) is rapidly fermented to short chain fatty acids (VFA) by means of facultative heterotrophs. No oxygen is used in this step.

- Subsequently in the anaerobic phase phosphate accumulating organisms come into action, under anaerobic conditions they take up these VFA and store them primarily as polyhydroxybutyrate (PHB), to do this they need energy which is glycogen and ATP from polyphosphate: the polyphosphate reserve is hydrolyses and transformed into ATP and phosphate is released into medium.

Aerobic phase:

- The polyphosphate organism exhibits aerobic metabolism and converts the stored carbon reserves into the biomass and ATP, the ATP produced is stored in the form of polyphosphate (PO4 +ATP) and glycogen. There is an uptake of phosphate from the medium.

- When all external carbon sources are consumed and the cell enter into a famine conditions, the bacteria containing PHB start to use this for their maintenance metabolism and they survive better than those not having the PHB

Net removal for anaerobic and aerobic phase

Anaerobic

- Assume that we have 1 g of biodegradable COD, of which 0.3 g are RBCOD and 0.7 g are slow biodegradable COD. In the RBCOD only 0.25 will be converted to VFA COD and the remaining 0.05 will be also the slow COD. In total we will be remaining with 0.25 VFA and 0.75 slow COD

- Suppose that this is supplied to the microbial biomass at a loading rate of 0.1g bCOD/g* X*d, means that 1g Bcod/10g X*d. in other words, 10 g biomass consume 1g bCOD.

- If in these 10 g biomass there is only 7.5 g of normal bacteria having 2% P  and 2.5g of polyphosphate bacteria having 24% P, it means 0.15 g+0.6 =0.750g P. the average biomass contains (0.75/10)*100=7.5% of P

- 0.75 g of phosphorus will be decreased by the excretion of phosphorus. The polyphosphate will consume 0.25 g of VFA and excrete 0.125 of phosphorus, which means only 0.6-0.125=0.475g of phosphorus will be remains in polyphosphate bacteria. After the take up of VFA the total phosphorus in the biomass will be 0.150 in normal bacteria+0.475 in polyphosphate bacteria which makes a total of 0.625g P.

- After the uptake of VFA, the remaining concentration in the solution will be 0.75g of the slow COD and 0.125 g of excreted phosphorus because the 0.25 VFA were transformed in the bacterial biomass

- The results of this anaerobic process are 0.625 g P in the biomass and 0.75 g of slow COD+0.125 g of P in the solution.

Aerobic

- The polyphosphate will convert the reserves of 0.25 stored to biomass and uptake phosphate to form new biomass; the yield is 0.4 which means 0.25*0.4= 0.1g of biomass will be formed. The total of 2.5g biomass of polyphosphate + 0.1 g of new polyphosphate biomass formed= 2.6 g of polyphosphate = (2.6*24)/100=0.624 g P

- The normal bacteria metabolize the remaining of 0.75 g of slow COD into new biomass and the new biomass formed = 0.75*0.4=0.3, the biomass for new bacteria becomes: 0.3+7.5=7.8g = (7.8*2)/100=0.156 g P

- Thus there is a total of (2.6+7.8) g of biomass containing (0.156+0.624)g of P= 10.4 g biomass containing 0.780g of phosphorus. The average biomass contains (0.78/10.7)*100= 7.5% P

- In the starting we had  0.15 g of phosphorus on normal bacteria and 0.6g in polyphosphate bacteria  =0.750g P and at the end we have 0.780g of P, means uptake of 0.03 g of phosphorus for 1 g of bCOD. This net uptake of phosphorus on a net basis is because the new cells take up phosphorus too and excess sludge is being removed.

- The bCOD/P ratio must optimally be 1/0.03=33 in case the RBCOD is about 1/3 of the bCOD. In practice a minimum of 25 mg/l of RBCOD is needed to induce excess P removal.

- provided proper conditions , P removal can be approximated as follows:

|  | Raw | Settled |
| --- | --- | --- |
| Influent COD | 600 | 360 |
| Influent TKN | 48 | 41 |
| Influent P | 10 | 8.5 |
| bCOD | 600*0.8 | 360*0.9= 324 |
| RBCOD |  | 324*1/3=108 |
| Sludge produced |  | 324*0.4=129 mg /l |
| Normal P immobilized |  | 129*0.02=2.5, Residual level of 7.5 mg/l |
| UCT P immobilized |  | 129*0.07=9 mg/l, residual level of 1 mg/l |

Process design for the biological removal of phosphate

Multiple reactors system – main stream treatment

- The A/O process is a “mainstream” phosphorus removal process because phosphorus removal occurs along the main plant flow stream. we have the following mainstream treatmet:

A/O PROCESS: Main stream without nitrification:

- Only phosphorus is removed, influent wastewater first passes through an anaerobic stage, where phosphorus-accumulating bacteria release stored phosphorus into the wastewater in the form of soluble phosphates.

- Released phosphorus and soluble phosphorus from the influent are absorbed by the phosphorus-accumulating bacteria in the aerobic stage.

- The residence time in aerobic phase should be below 3 days to prevent the nitrification, this will not yield a good flocculating sludge

- Phosphorus is ultimately removed from the wastewater by wasting the sludge from the secondary clarifier.

A/O PROCESS: Main stream with nitrification (phoredox, barnard): phosphorus and N are removed

- Phase 1: Anaerobic: In this stage, phosphorus release occurs. The influent first enters an anaerobic stage where the polyphosphates stored in bacterial cells are converted to phosphates and released to the wastewater.

- Phase 2: Anoxic:  In this stage, the wastewater then enters an anoxic stage, where denitrification occurs. Some wastewater from the end of the aerobic stage is recycled to the beginning of the anoxic stage and provides bound-oxygen in the form of nitrate to the denitrifying bacteria.

- Phase 3: Aerobic: This final stage is an aerobic stage. Nitrogen gas formed in the anoxic stage is liberated to the atmosphere, carbonaceous material is oxidized, luxury phosphorus uptake occurs and ammonia is oxidized to nitrate.

- There is a problem with nitrate in the sludge that is recycled to the anaerobic phase from the end of aerobic phase, the anaerobic should not have oxygen and nitrate.

A/O PROCESS: Main stream with nitrification (university of Cape Town, UCT):

- Phosphorus and nitrogen are removed; it has the anaerobic phase where the polyphosphates stored in bacterial cells are converted to phosphates and released to the wastewater.

- a safety zone in which the underflow is rendered completely free of O2 and NO3-

- Anoxic zone bringing about the removal of nitrate, some waste water from aerobic zone is recycled to this anoxic zone to provide bound-oxygen in the form of nitrate to the denitrifying bacteria.

- oxic zone with nitrification, carbonaceous material is oxidized, luxury phosphorus uptake occurs and ammonia is oxidized to nitrate.

- To solve the problem of nitrate that is going in the anaerobic phase , the sludge is recycled in the anoxic zone to remove nitrate and the sludge from anoxic is recycled to anaerobic phase.

- a decanter and satellite a decanter: it is advisable to waste sludge via separate fill and draw decanter(satellite decanter) because the underflow is usually quite variable due to the poor settleability.

Biodenipho systems

- Phase 1: Anaerobic:  Influent first enters an anaerobic stage where phosphorus-accumulating bacteria release stored phosphorus to the wastewater. Ammonia passes through the anaerobic stage untreated.

- Phase 2: Anoxic: Wastewater from the anaerobic stage flows into an anoxic stage where the first stage of denitrification occurs. This stage is anoxic because it has no free oxygen and the only form of oxygen supplied is from the nitrate in the recycle stream from the next stage. Denitrifying bacteria metabolize the nitrate and convert it to nitrogen gas as they consume the organic matter in the wastewater. Ammonia passes through this stage untreated. The phosphorus released during the previous stage also passes through this stage.

- Phase 3: Aerobic: In this stage, heterotrophic bacteria metabolize free oxygen supplied by the aerators as they consume the remaining organic matter originating from the raw wastewater.  Autotrophic nitrifying bacteria convert ammonia to nitrate while deriving their carbon source from the alkalinity in the wastewater. Some Nitrate produced in this stage is recycled to the second stage to supply the oxygen required for the denitrifying bacteria. Phosphorus-accumulating bacteria uptake the phosphorus released in first stage and the residual phosphorus from the influent in a process called “luxury uptake. Aeration of the wastewater in this stage liberates the nitrogen gas originating from stage two.

- Phase 4: Anoxic: the second stage of denitrification occurs in this stage. Nitrate from stage three that is not recycled to stage two enters this stage for denitrification. At this point, most of the organic matter originating from the influent wastewater has been consumed. Therefore, the carbon source required by the denitrifying bacteria in this stage is supplied by dead and decaying bacterial cells. The consumption of dead and decaying bacterial cells by activated sludge bacteria is called endogenous respiration. The phosphorus-accumulating bacteria hold onto their phosphorus stores in this stage because it is not anaerobic; however, some phosphorus will be released due to endogenous respiration.

- Phase 5: Aerobic: the final stage is aerated to liberate the nitrogen gas originating from the prior denitrification stage. Phosphorus-accumulating bacteria will uptake residual phosphorus released from the previous stage. From this point on, it is important to maintain aerobic conditions so that the phosphorus release does not occur. The sludge from the mixed liquor from the last stage is separated in a clarifier. A portion of the sludge from the clarifier underflow is wasted and the remainder is returned to the influent.

Multiple reactors system – side stream treatment

- The PhoStrip process is a “sidestream” phosphorus removal process because phosphorus removal occurs in a sidestream as opposed to the main treatment plant flow.

- Influent enters an aeration basin where phosphorus-accumulating bacteria uptake soluble phosphates. The bacteria are then separated from the wastewater in the secondary clarifier.

- A portion of the sludge from the secondary clarifier is recycled back to the aeration basin and the remaining sludge is directed to an anaerobic basin where stored phosphorus is released.

- Phosphorus stripped sludge is returned to the beginning of the aeration basin and the phosphorus-rich supernatant from the anaerobic basin is directed to a reactor-clarifier. The disadvantage of this process is that in this anaerobic basin you need to add an extra COD.

- Lime is added to the reactor-clarifier to precipitate the soluble phosphorus. Phosphorus precipitate is wasted from the reactor clarifier and the supernatant from the clarifier is returned to the influent of the aeration basin. The advantage of this system is that you remove P in the sludge and you need less volume.

Sequential batch reactor systems

- it is a reactor systems that are based on rigorous control of the oxidation reduction potential.

- One cycle can be completed in 8 h and 3 cycles can be performed per one day. The amount of sewage treated per day is 1.5 times as large as the reactor capacity.

- All nutrients are removed in one reactor; it can be used for all type of waste water treatment. It is anaerobic, no nitrogen and no oxygen.

Difference between mainstream and side stream

- In the main stream system, the influent COD is used to remove the Pi, no extra COD must be added provided the overall bCOD/P is greater or equal to 20

- In the side stream system , an extra COD must be dosed, about 2 mg bCOD per mg P present in the influent. This process has the advantage of not depending on the influent bCOD/P ratio however, it requires extra dosage of VFA and Ca(OH)2.

Prerequisites for excess phosphorus removal

- An anaerobic phase free of O2 and nitrate as electron acceptors to give these bacteria with polyphosphate energy reserves a competitive advantage.

- Note that the glycogen accumulating organisms when present disturb the removal by competing for fatty acids.

- Sufficient RBCOD which enters and is converted rapidly to VFA

AERATION

Why do we need aeration? and what is oxygenation capacity?

- The aerobic treatment system with suspended biomass requires oxygen and mixing.

- Oxygenation capacity is the change in oxygen concentration as a function of time( dCi/dt)

- dCi/dt = KL*A/V*(Cs-Ci), with KL is the the oxygen transfer coefficient, A: surface of the gas-liquid interface, V: volume of the liquid phase, Cs: dissolved oxygen in water at saturation, Ci: dissolved oxygen concentration in the bulk liquid at time t.

- KL= √D/π*te ; with D: the diffusion coefficient, te: average time that the interface exists . The KL is directly dependent on oxygen diffusion and inversely dependent on the average time that the interface exists.

- Experimentally the KL is determined by deoxygenating the water and you start oxygenating and you monitor the oxygen concentration over time

- As D, te and A cannot be determined, an  overall oxygen transfer coefficient is defined which is KLa

- KLa= KL*A/V, so the dCi/dt = KL*A/V*(Cs-Ci) becomes dCi/dt = KLa*(Cs-Ci) = OC in kgO2/m3*h

- In order to compare the oxygen capacity of different aeration devices, a standard oxygenation capacity OCst is defined at Ci=0g/m2; 1.013 bar ; 10 degree centigrade and in pure water

- OCst=KLa*Cs    (10oC) = 11.3KLa

- The saturation concentration for pure water is given by: Cs=14.6-4.1*10-1T+7.99*10-3T2-7.7810-5T3 Or when the influence of pressure and temperature is taken into account; Cs= (510.2-0.45T)(P-Pw)/(T+35) with P: the atmospheric pressure and Pw, the partial water vapor pressure.

- In brackish waters the saturation concentration is given by: Csb= Cs(1-9*10-6*n), with n the salinity in gCl-/ m3

- Note that the OCst is not the absolute value but only a qualitative comparative basis because the volume of liquid (V) is also used to determine KLa and OC.

- The normal operations of the activated sludge are different from the standard OCst conditions and the corrections for temperature, pressure and DO should be used:

Correction for temperature

- OC(T)= OCst * Cs(T)/Cs(10)*1.018(T-10)

- Oxygen capacity depends on temperature; at high temperature the saturation concentration of oxygen is decreased and hence the oxygenation capacity decrease. The higher the temperature, the lower the oxygen solubility in water. It is difficult to do nitrification if the water is warm because the saturation concentration of oxygen is very low.

- This loss of oxygenation capacity is small (1.08-0.94); a specific check for temperature is not strictly necessary. Indeed the saturation concentration is fairly compensated by the increase in oxygen transfer coefficient.

Correction for the pressure

- OC(P)= OCst* (P-Pw)/ (1.013-Pw)

- The pressure has a pronounced influence on OC than the temperature; activated sludge treatment at reduced atmospheric pressure (730mbar) requires a large number of aeration devices.

Correction for DO

- OC( Cb)= OCst * (Cs-Cb)/ Cs with Cb is the oxygen concentration in mixed liquor at steady state, this minimum oxygen concentration is necessary in aeration tank.

- If Cb is zero, you have the maximum OC; however a minimum level is necessary for a normal growth of aerobic microorganisms.

- The Cb chosen should represent a compromise between the oxygen limitation of the biomass and excessive loss of oxygenation capacity.

Correction for the mixed liquor composition

- The standard oxygen capacity is based on pure water, however waste water is not pure, there are other compounds and the composition will determine how fast oxygen goes in water (oxygen transfer coefficient) and saturation concentration.

- Organic and inorganic have an influence on the dissolution of oxygen since the oxygenation capacity is the products of 2 factors: a transfer coefficient and an oxygen gradient, 2 correction factors can be considered

- KLa’=α*KLa, α=KLa’/KLa,  and Cs’=β*Cs; β= Cs’/Cs,  with α and β correction factors for composition of the waste water and KLa’ is overall oxygen transfer coefficient for the mixed liquor ,Cs’ is oxygen saturation concentration in the mixed liquor

- The value of β is mostly near unity and α vary within large limits depending on the specificity of the waste water and the type of aeration device used

- The effect of surfactants and in extension waste water organic carbon on KLa is:

- Reduce gas-liquid surface tension so that the bubble sizes are smaller for a given aeration power, this results in increased specific area for mass transfer, a

- The diffusivity of oxygen through the surfactant layer around the air bubbles is less than that in water, so the mass transfer coefficient KL is lower than in clean water.

- The surfactant make bubble surface more rigid which further reduce the KL value.

- Higher salt concentration decreases the 	KLa and KL but only to a limited extent, it is important to note that the salinity does decrease the solubility of oxygen rather than KLa.

- While KL decreased, the surface of the interface, a, increases due to decreased coalescence. (Coalescence is too much mixing and bubbles, if the bubbles size decreased, a=A/V increased).

How to measure the oxygenation capacity before start up

- The measurement of oxygen capacity is performed in a standard test tanks

- In conventional deoxygenating, the procedure consists of a chemical deoxygenating followed by aeration. In order to deoxygenate rapidly, Co2+ catalyst is used. sodium sulfate together with a catalyst is used to remove oxygen in water

2N2SO3+ O2                2Na2SO4

- In non saline deoxygenating, hydrazine is used instead of sodium sulfite

NH2-NH2 +O2              N2+2H2O

- Check the graph for sodium sulfite , the equation is given by: ln (Cs-Co)/(Cs-Ci)= KLa(ti-ta) with to and Co the initial coordinates of the aeration

- A simple linear regretion gives KLa factor, however some precautions are necessary: the point (to, Co) should be taken beyond the inflation point and the aeration data should include values up to Ci > 95% saturation.

- For waste water the Cs value has to be adjusted to Cs’ which is determined in a separate experiment and the linear regression is KLa’

How to measure the oxygenation capacity after start up

- The tank has also the activated sludge consuming oxygen; those respiring microorganism’s exhibits a permanent oxygen uptake rate. The equations have to be transformed:

- dCi/dt = KLa*(Cs-Ci)-OUR  with OUR, the oxygen uptake rate.

- When one allows a short break in the aeration and monitors the reaeration, the following equation written as : [KLa*Cs –OUR] -KLaCi, with [KLa*Cs –OUR] is the intercept and KLaCi is the slope

- By plotting dC/dt against C, one can derive the KLa from the slope of the straight line and in a separate experiment one can determine OUR and calculate Cs.

- Pseudo-saturation is reached at C’ which is quite variable.

What is the OC/load concept and how to determine it

- It is a concept introduced for the ease design engineers

- It represents the Kg of oxygen to be dissolved in the mixed liquor for each kg of substrate administered to the bacteria to be removed

- This has been used as a rule of thumb to calculate the required oxygen supply

- If you know the relationship between the removal efficient, the endogenous respiration rate and the specific oxygen requirements it is possible to define the oxygen requirement precisely.

- for the small plants, you don’t need to be there to monitor, you have to overdoing it by blowing too much air and all COD is gone.

- Ask explanation on grapg 2.22

Types of aeration

- Air diffusion( bottom aeration)

- Surface aeration

Air diffusion

- The oxygen transfer takes place at the interface air bubbles-water during the ascension of air bubbles

- The process can mathematically be quantified quite accurately even with the complication of the decrease in pressure and the change of volume and velocity of the ascending bubbles

- The compressed air is introduced at the bottom of the aeration tank

- The hydrostatic pressure induces the increase of the pressure in the air bubbles favoring the oxygen diffusion. The saturation concentration is in function of this pressure

- Csm=Cs(P/2.027+O/42) with Cs the dissolved oxygen concentration adjusted for the temperature and mixed liquor composition, P is the pressure at the air inlet, O: volumetric oxygen content of air bubbles reaching the surface in%

- P = atmospheric pressure  in bar + 0.0984*water deph in m

- Air diffusion makes it possible to control the temperature in the aeration tank by preheating the air. This is important when the ambient temperatures drop to low levels in winter to prevent ice formation and biological activity is maintained at a sufficient level. Bacteria do not function at very low temperature and you need to preheat air to prevent the low temperature.

- Different system of diffusing air exists: air diffusers, turbine aerators and static aeration

Air diffusers (bubble aeration)

- Oldest aeration devices used designed for 3-5 m tanks

- The diffusers are maintained in the bottom and you generate air bubbles.  Coalescence is created from too much mixing and too much gas bubbles

- There is of porous types that produced fine bubbles and ceramic types, the ceramic are most common. Recently the plastic devices have been introduced

- The disadvantages of the diffusers is that they easily clog by attached growth of biomass, sediment solids  or to chemical precipitation

- Ceramic diffusers can be regenerated by heating them, plastics cannot be regenerated and they have to be replaced when they are clogged, plastic are not expensive.

- To overcome this problem of clogging the non porous diffusers were created where the air is pumped through holes in pipes giving rises to coarse bubbles giving less aeration efficiency.

- The distance between the diffusers is of utmost importance. 2 limits can be defined, the lower limits to prevent the excessive coalescence of the rising bubbles and an upper limits to ensure sufficient mixing in the interface between the diffusers.

Turbine aerators

- Fixed structure in the bottom and the tubes bring air and the turbine centrifuge air.

- The air pumped through holes or nozzles is splashed by the turbine blades into fine bubbles

- They are designed for deep tanks up to 6 m

- Mixing is intense and better than air diffusers. Energy consumption and maintenance requirements are high

Static aeration

- The turbines are replaced by fixed static mixing devices.

- this reduces the cost considerably as compared to turbine aerators without affecting the oxygen transfer efficiency too much

Surface aeration

- the oxygen is transferred during the residence of the water drops in the air phase

- impingement of the water jet into the bulk liquid form thin air bubbles and contribute to gas liquid transfer

- the water jet is created by the mechanical devices of the impeller type or by rotating brushes

- the oxygenation capacity depends on the rotational speed and the submersion deep

- their flexibility towards oxygen supply is less than that of air diffusion

- in cold climates ice formation can disturb the good functioning of the aerators and even block them physically

- The advantages are that you can easily observe the problem and fix the problem but in bottom aeration it is difficult to repair and maintain the aerators.

- The disadvantage is that the aerosol of pathogens and pollutants can contaminate the neighboring environment which is habituated by the population

Low rotation impeller aerators

- There are of the turbine type , they create a radial water movement and are mostly mounted on a fixed structure

- The mixing capacity is excellent and they are utilized in completely mixed activated sludge

High rotation impeller aerators

- are the propeller type, floating structure with a turning propeller, , their action is the axial, they suck water from the bottom of the tank

- Since they are mounted on the a floating structure, they are used on a large surface with somewhat variable water level

Rotating brushes

- They were initially used in plug plow activated sludge and their mixing capacity in deep tanks was insufficient

- Nowadays they are used in aeration tanks of the raceway type(oxidation ditches, ring type activated sludge) and in shallow aerated ponds

- The settlement of the sludge is prevented by recirculation of the mixed liquor at sufficient speed.

On what parameter the choice of aerators is based and what are the parameters to be looked for

- Choice depends on:

- kind of waste water treated

- type of activated sludge process

- characteristics of suspended solids

- construction of the aeration tank

- climate

- the parameters to be looked for:

- oxygenation capacity

- mixing

- flexibility and dependability

- energy efficiency and maintenance requirements

Comparative table of the aeration types

| Aeration | Advantage | Disadvantage | E |
| --- | --- | --- | --- |
| Air diffusion |  |  |  |
| Diffusers Ceramic (fine bubbles) Plastic form(fine bubbles) | high OC, sufficient mixing, possibility of temperature regulation, high flexibility | High investment and maintenance cost. Clogging and CaCO3 precipitation, less suited for complete mixing, well suited for plug flow design | 0.8-2.2 |
| Inka system (coarse bubbles) | Not clogging possibility of temperature regulation high flexibility | High investment cost, low OC, high energy consumption | 0.55-1.7 |
| Turbine aerators | Good mixing, high OC, High flexibility | High maintenance cost, foaming, high energy consumption | 1.05-1.5 |
| Static aerators | Non clogging ,high OC | Less suited for complete mixing | 1.25-1.85 |
| Surface aeration |  |  |  |
| Impeller type ( low rotation speed) | High energy efficiency, good mixing | Ice formation, high investment cost, maintenance of the reduction gears, formation of aerosol | 1.55-2.50 |
| Impeller type ( high rotation speed) | Low investment cost, high energy efficiency, floating, good flexibility | Ice formation, less mixing, difficult access for maintenance | 1.55-2.50 |
| Rotating brushes | Low investment cost, good flexibility, high capacity | Lower energetic efficiency, non uniform oxygen supply, formation of aerosol | 1.55-2.15 |
| Note that E: is the efficient and is how much kg O2/KWh. Surface aerators are quite efficiency except the disadvantages that they have, the pressure and oxygen partial pressure are the parameters required to design a tank. High pressure and much more residence time will give a good oxygen transfer. We need to improve the pressure and improve KLa by improving mixing flow. |  |  |  |

Further developments

- conventional aeration has poor physical and energetic efficiencies, recent developments of aeration equipments have tried to improve this efficiency as well as the mixing capacity

- from this equation OC= dCi/dt = KLa*(Cs-Ci) it can be seen that the oxygenation capacity can be increased by increasing the oxygen gradient (Cs-Ci) and by improving the KLa

- Since Ci is limited by the aerobic conditions, the only way to increase (Cs-Ci) is by increasing Cs. This can be done by aeration with pure oxygen or enriched air or working at high hydrostatic pressures: Csm=Cs(P/2.027+O/42), in this equation,  Csm increases proportionally to the pressure

- To improve KLa, you need the reduction of air bubbles diameter, suppression of the coalescence of the fine bubbles and increase the contact time between the bubbles and the mixed liquor.

- The contact time can be lengthened by imposing on the air stream an inclined rising path by moving the diffusers or by circulating the water.

- In surface aeration the water jet aerator has been chosen because the subsequent impingement generates a large amounts of the fine air bubbles which yield an efficient oxygen transfer

- Note that the new improvements improve the oxygenation capacity but in case of high depths aeration they don’t improve strongly the overall energetic efficiency and the complexity of the equipments tends to increase the maintenance costs as well as the required training level of the operators

Sludge sedimentation

- The separation of the suspended solids from water is commonly performed by sedimentation. In conventional activated sludge processes, the sedimentation is the final stage of waste water treatment therefore it is a final clarification.

- Sometime the water is allowed to sediment before it goes to the biology then the terms primary and secondary sedimentation are used.

- Final clarifiers have the following tasks:

- The activated sludge as the last barrier between the treatment plant and the environment has to clarify the treated water so that the effluent meets the specifications.

- Concentrate the sludge so that the flows of return and waste sludge are mixed

- Constitute a buffer volume in order to store sludge during transient regimes. If the sludge sinks and stays denitrifiction occurs and create bubbles. The sludge are not supposed to accumulate in bottom for long time

Hindered settling

- To know how fast the sludge will settle, you need to know the hindrance settling. In case of activated sludge the settling flocs expel equivalent volume amount of water from the bottom of the tank upwards, this rising fluid flux hinders the settling of the sludge in case of the high sludge level or large sludge flocs.

- The sedimentation rate for particles is important in sedimentation; the particles with high density like sand will sediment fast and the sludge itself sediment slowly. The higher the diameter, the higher the density, the higher the sedimentation.

- The settling of particulate matter in case of primary sedimentation is given by the stokes law, Hazen and newton:

- v=1/18g/*γ(ρd/ρ-1)d2 with v: the absolute settling velocity, g: acceleration due to gravity, γ: kinematic viscosity of the surrounding liquid, ρd: density of the particles, d:density of the liquid, d: diameter of the particle.

- The major importance are the density of the particle and the diameter of the particles

- The law holds in case the flow is laminar and the liquid phase is stationary. It hence gives an absolute settling velocity.

- In case of activated sludge the settling flocs expel equivalent volume amount of water from the bottom of the tank upwards, this rising fluid flux hinders the settling of the sludge in case of the high sludge level or large sludge flocs. The effective sedimentation is given by:

- ve=v-vw, with ve: effective sedimentation velocity , v: absolute settling velocity , vm: the rising velocity of the clarified water.

- since vw is a function of the volumetric slude concentration, the equation can be transformed to:

- ve=v(1-τ2/3), with τ the sludge concentration expressed in vol/vol

- the τ is difficult to measure therefore the relationship between ve=f(x) is determined experimentally

- a series of the sedimentation cylinders with increasing sludge concentration are set up.

- A well distinguished interface between the settling sludge and the supernatant clarified water is formed after settling

- This interface height is measured as a function of time and the static settling curves are obtained. These settling can be divided into different sections: see graph

- A lag phase in which flocs form again after being disturbed by the turbulence during the filling of the graduated cylinders

- A fairly linear settling period

- A transition phase where the concentration beneath the interface is no longer equal to the initial one and where the curve flattens

- The compression phase where all flocs layers have the physical contact with the underlying ones. Further thickening takes place by mechanical compression in the sludge layers.

- The linear settling period is taken as the representative for the settleability of the sludge at its initial concentration

- The graph: Out of the test, the relationship ve=f(x) can be determined and this relationship shows that as the sludge is getting more and more compacted, the velocity goes down until it becomes zero.

- The velocity decrease as the sludge concentration increase

Solid flux theory

- Knowing the relationship ve=f(x) the solid flux for batch settling can be defined as: Gb=ve*x with Gb: batch solid flux in kg/m2*h; ve: linear settling velocity and x: the sludge concentration in g/l or kg/m3.

- The graph shows that at increasing the sludge concentration, there is a rise in a solid flux and then a decrease. At very low sludge concentration, no hindrance settling, the mass of material is coming down is quickly. The flux becomes zero after the sludge is fully compacted.

- As the sludge layer sinks down, the concentration x evolves and becomes XR

- X is the concentration of the sludge in g/l; Gb is the solid flux Kg/m2*h. Gm is the limit of the solid flux for a given underflow concentration. XR is the sludge concentration in underflow

- The solid flux G is the sum of the batch solid flux and the flux due to underflow

G=Gb+Gu=ve*x+vu*x; vu=Qu/A; where G: continuous solid flux in kg/m2*h; vu: underflow velocity; A: section of the clarifier; x is the sludge concentration in kg/m3 or g/l

- There is 2 aspects: the sludge itself going down and the operator pumping it out of the bottom

- The tank receive Q+QR with the concentration x and what goes down is pumped under flow sludge and is Qu=(QR + Qw) with the concentration that has become XR. The recycled (QR) and the wasted part (Qw). What goes up is Q-Qw.

- Graph shows the relationship G=f(x):

- A clarifier receives an incoming flux G’, these solids are all removed via underflow. The underflow consists of 2 fluxes: Gb which is due to settling and Gu which is due to drain or underflow pumping.

- The Gu can be modified by the operator by changing the underflow velocity

- The clarifier operates properly in case the incoming flux (horizontal line on graph) is situated below the curve representing Gb+Gu.

- The maximum incoming flux which can be tolerated is given by the lowest point of the G curve which is GM on the curve

- In case G’ would be higher than Gm, the decanter is overloaded and will accumulate sludge solids and eventually release solids via the overflow

- Gm corresponds to the maximum loading rate the clarifier can cope with in order to obtain Xa that is transformed to XR.

- A horizontal line through (0,Gm) is tangent to the G curve in the point(Xa, Gm)

- Xt and Xa are well defined concentrations corresponding with the different sludge layers in the clarifier. Xt corresponds to the sludge concentration in the zone of uniform settling and Xa corresponds to the upper layer of sludge bed and XR is he concentration at the underflow outlet

- The solid flux could be an ideal measure of the settleability of flocculating sludge like activated sludge unfortunately the linear settling velocity is dependent on several factors:

- Analytical procedure and cylinders used

- The settleability itself depend on the temperature, Gb increase with increasing the temperature

- Sludge residence time, the good settling require 5 days, before this 5 days, the volume taken by the sludge after settling(SVI) is high and in this case the settling is bad. If SVI is small, a better settling is obtained, sludge take small volume, better flux and better settling velocity and this corresponds to 0.25 kg loading rate.

- Loading rate, optimal sedimentation require a loading rate of 0.25 kg bCOD/kg MLVSS.d

- You can change the sludge by changing the underflow velocity however if the underflow velocity is too much increased in this case you are pumping too much in the recycle and the sludge will not compact any more.

- You can also change the sludge by doing the coagulation better by adding the coagulants( some electrolytes)

Final clarifier design

- Sedimentation is a challenge in WWTP. They have  to be very large to make sure the sedimentation is done

- Settler should be sufficient to assure a good clarification of the water( low X in effluent) and achieve a thickening of the sludge underflow(XR)

- Effluent criteria is characterize by the overflow velocity:

Vo=(Q-Qw)/A with Q: waterflow rate of inlet of station, Qw: rate of sludge wasted, A: surface area of the clarifier, vo: overflow velocity

- To determine A, one needs to estimate vo. The value for vo is generally approximated based on experience in the field. Check these recommended parameters for activated sludge in table.

Secondary parameters

- L and H parameters are the design parameters and have a lot to do with the mixing

- For the hydraulic stability and to eliminate dead zone L/H should be 20-35 for rectangular tank and d/H should be 15-25 for circular tanks

- Rectangular tanks are suited for primary sedimentation and circular tanks are preferred for final clarification

- The sludge retention time should be limited from 2-6 h for the following reasons:

- The sludge retention time in the decanter should not be too long for nitrification tanks because when settling the activated sludge is still actively respiring and oxygen is consumed.

- There should be then a risk of denitrifiction and the rising nitrogen bubbles can carry sludge flocs and upset the good functioning of the sedimentation and

- In case of biological phosphorus removal a bleed back of phosphorus is possible.

- To avoid possible carryover of sludge in the vicinity of the weir due to increased flow, the loading per running meter of the outlet weir should be limited to 5-10 m3/m*h for good settling sludge or 3-5m3/m*h for poor to moderate settling sludge

- The rotation speed of the sludge scraper should be less than 5 mm/s. higher speed could disturb the sludge bed by too much turbulence.

Control, modeling and automation

Why to control the activated sludge process

- Waste flow is controlled to have a constant sludge concentration, a constant sludge load and a constant sludge age.

- to make sure the oxygen never drop very low

- To keep the recycle ratio small avoiding more energy required for pumping and to ensure adequate separation of the sludge in the decanter.

How to control the activated sludge process

- You can control 3 parameters: you can control the waste (Qw), you can control the recycle flow(Qr) and the aeration.

Using Qw as a controlling parameter

- Constant sludge concentration(x): The operator monitors the VSS in the mixed liquor and adjusts the discharge Qw so that X remains more or less constant. In this system the constant sludge concentration is obtained and the sludge load Bx varies with varying Q and So.

- Constant sludge load (Bx): To obtain a constant Bx the operator monitors the VSS in the mixed liquor and also the quantity Q and the strength of the incoming water and adjust Qw so that Bx remains more or less constant based on online measurement such as TOD or TOC.

- Constant sludge age (θx):

- The operator monitors X and XR. These 2 parameters can be can be approximated online by turbidimetric measurement hence the control of Qw can be automated.

- Sometimes the so called extensive control of X is used. In this case the sludge is not wasted from the secondary decanter but from the aeration basin into a primary decanter.

- The flow rate of the pump which deliver the sludge from the aeration basin to the primary decanter is given by:  Qw= XVt/XRθx= Vt/θx , with the Vt: the volume of the aeration basin and secondary decanter.θx is the preset value

- Because the secondary decanter contains a considerable amount of sludge it is also included in this consideration.

- This form of control is excellent for small installations receiving influents of constant quality

- The control based on constant sludge age is practiced most often than others and gives the best results

Using QR as a controlling parameter

- In order to assure adequate separation of the sludge in the decanter the operator can modify the recycle ratio (QR/Q).

Qr/Q= X/XR-X; SVI= 1000/XR; Qr/Q= X*SVI/1000-SVI*X

- There exists a critical SVI for each sludge concentration, for example if X=4 g/l. the SVI= 1000/4=125, the higher value of SVI require exceeding high recycle ratios and QR/Q=(4*125)/1000-125*4

- Environmental constraints can stress this control; the flow and strength of the influent are mostly imposed. The operator is usually limited to the adjustment of X and XR by modifying Qw and QR to ensure the quality of the effluent.

Oxygen Uptake Rate and DO as controlling parameters

- Both the measurement of the DO and the OUR permit to adjust the oxygen input to the actual requirements

- In compressed air aeration activated sludge, the oxygen supply is controlled by alteration of the blower volume. In the surface aeration sludge the oxygen supply is controlled by modification of the rotation speed or preferably the immersion depth.

OUR

- Aeration is often regulated by monitoring the oxygen uptake rate. This parameter is the mg of oxygen used per g of MLVSS per hour.

- To determine the OUR, grab sample of mixed liquor are placed in a closed vessel and the decrease of the dissolved oxygen is monitored over 10 minutes or steer a small stream of mixed liquor into a control reactor and monitor the oxygen consumptions.

- This parameter is very useful to adjust the aeration supply of the basin however it does not relate in a direct way to the level of the residual organic BOD or to the suspended solids in the effluent.

- The figure shows the aeration control by OUR monitoring in a bypass reactor. The instead of sending the water to the aerator you send the water to the bypass to measure oxygen consumed. In the bypass you bring the air and calculate how much oxygen consumed by air.

- The rate of respiration of the sludge and thus the consumption of oxygen is directly related to the concentration of cells and the intensity of the metabolic reaction.

- The DO balance of a sub-reactor or a bypass of activated sludge process is given by:

Q’.C1+KLa.(Cs-Cx).V’=Q’.Cx+OUR.V’ where the Q’ is the flow toward the sub-reactor, C1: dissolved oxygen entering the sub-reactor , KLa:is the oxygen transfer rate ; Cs: is the saturation dissolved oxygen concentration; Cx: is the dissolved oxygen concentration exiting the sub-reactor ; V’ is the volume of the sub-reactor.

- By measuring both C1 and Cx and establishing the KLa, the OUR can be calculated and the aerators can be continuously adjusted based on this calculated OUR.

DO

- This parameter strongly influences the performance of the process with respect to the organic carbon removal and important for nitrification, denitrification and phosphorus immobilization.

- In a completely mixed reactor, continuous monitoring of DO level has the disadvantage that the probe can be damaged and they need to be calibrated every time. It is difficult to use this probe because different results can be obtained as the tank is too big and the DO set point is situated in the near vicinity of the electrode only. Any drift or fail of electrode has a major consequence for the overall oxygen balance of the system. It is advisable to install at least 2 oxygen probes in parallel with the interconnection of the control circuits.

- In a plug plow reactor with a uniform air supply along the length of the reactor, the DO concentration exhibits a profile along the length of the reactor. These DO profiles provide the variety of information about the status of the activated sludge process. By measuring with minimum free electrodes the DO profile, a variety of information useful for supervisory operation and automatic control becomes available. The probe are long the reactor ( see graph), on the figure the curve one is not good because the saturation is reached early. The good curve is 3 where you reach the saturation at the end of the reactor.

Microbial ecology and Microbial community of activated sludge

- A population is a individual cells of the same species and different populations and individuals together form communities

- Microbial communities interact with other communities, population and species and also with the abiotic environment (soil, plants, weather).

- An ecosystem is the community and their natural habitat.

- These interactions among the different microorganisms and their environment are what we call microbial ecology

- The satisfactory of the WWTP requires the formation of a microbial communities capable of:

- Metabolizing as much polluting chemicals present in the incoming water as possible

- Contributing to the formation of well settling sludge

- In order to achieve the requirements above the conditions of the process should fever the microorganisms which meet the combination of the 2 criteria and the community must consist of large variety of species so that if one species is decimated another one can replace it rapidly and the process can keep working reliably.

- The food web is imported here in consuming the pollutants.

- The organic wastes (BOD) are consumed by the heterotrophic bacteria.

- The complex organic molecules such as lignocelluloses cannot be degraded by one microorganism alone.

- Some organisms will hydrolyze the organic matter.

- Once oligomers and monomers are created further degradation via fermentation for example is possible.

- Many consumers are the secondary consumers that fee off of material released by primary consumers; these organisms degrade the by-products of BOD and lysis of other cells.

- Chemoautotrophic bacteria can be present and they generate energy from the oxidation of the inorganic compounds like ammonium, nitrite, iron, and sulphide. Nitrification is an example of autotrophic activity of bacteria.

- Many species of protozoa are also a measure of the sludge quality, the protozoa that attach to the sludge with a means of a stalk provides the stability to the sludge, and the free swimming protozoa don’t help. Protozoa are also indicators of toxins in waste water because they are sensitive to toxic chemicals.

Interactions

- Competition between microorganisms for nutrients results in a selection for species which are optimally adapted each for their nutrients under the given environmental condition

- The more diverse the composition of incoming feed , the more diverse the composition of the microbial community, the more

- There are also other forms of interaction than competition and some of them have a positive effect on the growth.

- The mathematical models reveal that competitive growth for one single substrate will result in dominance of one species with an optimal YCOD-Ks combination.

- In case of different substrates, different species, each specially adapted to its substrate will come to existence.

Molecular methods to study the microbial community

- The microorganisms of activated sludge live in a very complex and not all organisms could be cultivated, 85-99% in activated sludge could not be cultivated(the great plate anomaly)

- To solve this problem, the genetic material of bacteria is used to describe microbial population. The cellular components present in every living organism except virus are the ribosome. The ribosome translate the mRNA into the respectively proteins.

- The RNA is a mixture of ribosome RNA (rRNA) and some proteins. 	Ribosome RNA can be divided into units: 5S, 16S (prokaryota) or 18S (eukaryota), and 23 S. this rRNA molecule and its gene 16S rDNA are used for phylogenic analysis as this rRNA is universally present

- 2 methods are used to study the microbial community: Hybridization based method and amplified based method

Hybridization based method

- A probe that is a small DNA molecule labeled with a dye will or will not bind to the target DNA or RNA. If the probe binds, both molecules are complementary and the dye will report the match.

- The most commonly used techniques is the fluorescent in situ hybridization technique(FISH) which is based on binding of DNA probes with fluorescent label that bind on RRNA.

- A combination of different probes is possible so that different bacterial species can be examined simultaneously.

- The more active the cell is, the more RRNA copies are present in a cell and more probes will bind on these ribosomes and results in more fluorescence and a quantification of the cell can be made

- the non active cell are not detected because RNA molecules are less stable than DNA molecules, if a bacterial is not active , the RNA content will drop rapidly and when the cell becomes more active again the new RNA molecules will be transcribed from DNA.

- If you want to study the active bacteria cells you should analyze the RNA molecules but if you want to know different kind of bacteria present you should study the DNA.

- Bacterial cells are first fixed to protect RRNA and to make the cell wall permeable, next step the probe will be added and incubated at a given temperature so that the probes can penetrate the cells and bind to the ribosomes. After the incubation the probes that did not bind are washed away and finally the cells can be examined with a fluorescent microscopy or flow cytometry.

- This method of FISH, you look only for the targeted bacteria and not all bacteria in waste water. you look only the one in which you have the probes.

Amplification based molecular techniques

- A specific fragment for DNA or RNA is amplified and can be amplified a few million times during the PCR (polymerase chain reactions). The genetic material is sorted out from the cell and DNA is extracted, the PCR amplification labeling is performed followed by hybridization on the DNA microarray and finally the identification of the bacteria present.

- You get the sequence of all bacteria and get the idea on the overview of the bacteria that are present.

- The problem with PCR is that it does not do the quantification but the amplified fragments can be subsequently be analyzed via other techniques like denaturing gradient gel electrophoresis (DGGE), clone libraries, pyrotag sequencing. These techniques allow the identification of a microbial community as well as the quantification to some extent.

- Metagenomics is a more recent technique that allows more in depth analysis of microbial communities. The DNA or RRNA of a whole microbial community is sequenced in small fragments and after sequencing these fragments are reassembled to create full genomes of different members of the microbial community.

- the advantages of metagenomics is that important members of activated sludge that cannot be isolated and their role is difficult to establish, their individual genetic potential can be probed   and helps in understanding how the organism works, what it could do, and diversity within organism.

How flocculation of activated sludge occurs

- ionic bridges by polyvalent cations such as Fe3+ and Ca 2+ bind individual bacterial cells

- Gluey substances secreted by microorganisms and constitute a matrix in which cells are embedded and by which they stick to one another. These glue substances contain a variety of cross linked molecules and interact strongly with Ca2+ ions they can hence deflocculated in case of soft water from rainwater or water with detergent.

- Growth of filamentous microorganisms and other bacteria attach to these filaments and form micro colonies.  The micro-aggregates become attached to these filaments and associated in floc with size and density high enough to settle rapidly

Types of sludge flocs and problems that can be arise from them and possible solutions to solve these problems

Pin point floc

- They are small floc without filament in the range of 10-20μm. They are non settling floats and they still floating in the supernatant after the sludge which settle rapidly has been settled. The compact flocs are formed and settle rapidly leaving behind these small ones that form a turbid supernatant.

- The problem is manifested by the high SVI, cloudy, turbid effluents

- The solutions to this are to verify the loading rate and DO level and improve this poor floc formation by enhancing somewhat the growth of filamentous forms to obtain a larger filament enforced floc. This requires setting the dissolved oxygen values to 1-2mg/l which allows the filamentous microorganisms to have fair and appropriate growth. Because at high level of DO the filamentous can be outcompeted.

Normal floc/Anoxic sludge

- Sludge that that initially settles quite well but after some time starts to rise again.

- This rising occurs typically when denitrification takes places in the sedimentation tank and the nitrogen formed gas forms bubbles which attach to the activated sludge patches,  decrease the density of the flocs  and floating hem to the secondary clarifier surface Or in case the sludge becomes really deficient in oxygen due to storage for a prolonged period rising can occurs due to the formation of CO2, H2S or H2 gas

- The problem is manifested by the gas bubbles rise to the surface of the secondary clarifier and a scum of activated sludge forms on surface of the secondary clarifier.

- The remedy for this is to increase the recycle flow rate ,denitrify more completely, the final  NO3-N should be smaller than 5 mg/l

Bulking

- Is due to filamentous growth that extent from flocs into solution and interfere with compaction and settling of activated sludge.

- The problem is manifested by the sludge that settles slowly and compacts poorly; SVI index is 200 or more, Loss of process control due to sewage blanket overflowing secondary clarifier weir and loss of efficiency of solids handling processes.

- The solution to this is to verify the special causes, apply flocculants or oxidants, and improve the substrate gradient or discontinuous feeding.

Difference between the filamentous and floc foarming organisms( zoogloeal bacteria)

- The filamentous bacteria have higher affinity for nutrients, at low level of BOD and DO they tend to grow more rapidly than the floc foarming organisms. That is why in the center of the sludge floc these filamentous outcompete the non filamentous because the diffusion limits the nutrients influx inside the center of the floc.

- The typical floc foarming organisms have high substrate removal rate and are capable to store energy in the form of intra or extra cellular reserves material which allows them to survive in the periods of no external food supply than the filamentous.

- Sludge which are subjected to chemical stress make dense good settling flocs because under such conditions the floc is composed out of parts in contact with water( hydrophilic) and mostly this part is filament which are damaged by the chemicals and another part which is inside the floc and is shielded from dangerous chemicals(hydrophobic).

Strategies for microbial management

- Sludge flocculation management

- Wash out the non flocculating cells

- Substrate gradient management:  contact chamber/ selector, the plug plow , intermittent feeding , bio-supplements

- Emergency interventions

- Biological foaming

Sludge flocculation management

Wash out the non flocculating cells: it is of critical importance to subject the sludge flocs at regular intervals to the sedimentation selection. The sedimentation selection time should be less than 8 hours. tsed-sel= Vtot/Q+QR with Vt= volume of reactor+volume of sedimentation tank. t

Substrate gradient management

- By using the contact chamber/ selector:

- this contact chamber allows the returning sludge to temporally feed at high substrate concentrations

- A small reactor is putted in front of the activated sludge and serves as the mix zone. The floc formers bacteria store the organic in this mixed zone and the filament takes the remaining

- The selector chamber should be completely mixed in order to maximize the substrate diffusion.

- The reactor can be aerated or not, this does not influence the effect.

- This system improves the SVI at 91% and foaming at 75%.

- The volume of this selective tank is given by: Vsel= ΔSs/MLVSSsel *qmin with ΔSs: loss of easily degradable substrate which has to be removed in the selector (kg COD/h) and is normally between 25-50% of incoming load;MLVSSsel :mixed liquor volatile suspended solids concentration in the selector (kg/m3) and is normally equal to the MLVSS of the activated sludge basin ; qmin: minimum specific substrate removal rate which can be expected(kg COD/kgMLVSS.h), normally equal to 0.5kg/kg.h

- The amount of the oxygen required for the selector is OD=ACOD.ΔSs

- With ACOD: oxygen demand for substrate removal =0.25gO2/g COD removed

- Suppose that the So=500mg/l; Q=1000m3/day; Bv=1kg/m3.day; XR=2x=8kg/m3; VR=500m3; QR=Q. if 2x =8kg/m3 then X=4kg/m3. The total load can be calculated from Q*So= 0.5kg/m3*1000m3/day= 500kg/day. The ΔSs is between 25-50% (see in notes above) of the incoming load= (500*25)/100=125kg/day=5.2 kg/h and this is the amount of substrate that you want to remove. MLSSS=X=4kg/m3; qmin= 0.5kg COD/kg MLVSS.h( see also in notes).Vsel is calculated then=Vsel= ΔSs/MLVSSsel *qmin = 5.2/4*0.5= 2.5m3. t is calculated =V/Q+QR= 2.5m3/(1000+1000)m3/day= 0.00125day=1.8min. the OD=OD=ACOD.ΔSs= 0.25*5.2=1.25kgO2/h.

- By using the plug plow

- Operating the plant in a plug plow rather than in completely mixed mode gives rise to a gradient in substrate concentration and certainly will improve the sludge settling characteristics

- Because it is not mixed properly you will have the difference in concentration, you will have a part with high concentration of substrate and another one with low substrate concentration.

- By using the intermittent feeding

- It is changing the operation from continuous to intermittent feeding phases of high and subsequent low nutrient levels. This improve sludge settling

- It is called feast and famine strategy; it is difficult to apply in practice since storing the waste water requires buffer volume capacity and the extra aeration capacity for the activated sludge basin and volume of the clarifier is required for intermittent increased loading.

- Using the bio-supplements

- Certain nutritive supplements such as bio-supplements can have a proper balance in hydrophilicity and hydrophobicity in the floc.

- The bio-supplements can result in a decrease of the SVI or the residual COD.

- Products which alone or formulated together can enhance biological floc formation, these products are: slow release BOD: compounds such as lignocelluloses fibers which adhere to the flocs and on which zoogloeal bacteria can feed; balasting products products such as talk and silt; selective ions precipitation on the floc such as Fe2+, Mn2+; special inhibitors for filamentous bacteria such as some quarternary ammonium detergents.

Emergency interventions

- To rapidly remediate the bulking one can apply organic polyelectrolytes. These chemicals may coagulate disperse bacteria into flocs.

- Adding a low dose of a strong oxidant to the recycle sludge. Chemicals like H2O2, HOCl tend to damage the protruding filaments.

- High dose should be avoided because the sensitive populations such as nitrifiers can be damaged

- It is essential to monitor the formation of undesirable levels of organochlorine compounds

- To rapidly remediate viscous bulking which is particularly difficult, you have to introduce a complete mix of minerals in the form of plain sewage and apply O3 at a dose of 1 kg O3/kgMLSS/day

Biological foaming

- A stable air-water –microbial biomass scum layer is present on activated sludge and gives rise to esthetic problems and some odor.

- It can also lead to a foam overflow into the decanter and increase the SS in the effluent.

- The foam layer can accumulate more and more biomass and can give rise to poor nitrification.

- Foam sludge causes floating layers in the anaerobic sludge digester

- The foam is caused by the hydrophobic cells in contact with either bio-surfactants (fatty acids, lipopeptides) or synthetic detergents (especially non-ionic) trap gas bubbles and make stable foam.

- To avoid this foam you need to prevent the oil, grease and floating matter to enter the reactor and decrease the amounts of the surfactants in the feed, dilute the foam with water, dose iron (III) chloride in the reactor.

Survival of pathogens

- Waste water from domestic origins contains a variety of microorganisms which can potentially be pathogenic

- E-coli are a good indicator organism and can be rapidly and easily detected.

- The pathogens require higher temperature and nutrients levels to grow.

- You have to measure these pathogens before releasing the water in the environment ,

- They tend to adsorb on particulate matter and the primary settling achieve a reduction of 50%. A major part is adsorbed on the sludge flocs in the aeration tank.

- The low substrate levels available and the fierce competition by the activated sludge microbial community exclude them from growth.

- Due to sorption, die-off , parasitism and predation a removal of 95% of these pathogens can be removed

- Bothe the treated water and sludge produced are still having some potentially pathogenic microorganisms

- In case the effluent is discharged into surface water and receives adequate dilution, post chlorination is not advisable to avoid the formation of undesirable chlorinated organic compounds.

- When plant receives the water from hospitals or when the receiving water has a restricted volume or is rapidly re-utilized disinfection of effluent is advisable.

Special types of activated sludge process

- Sequencing batch reactors

- Extended aeration

- Pure oxygen driven aeration

- High oxygen transfer(deep shaft and tower reactors)

- Powdered activated carbon

- Multistage/ AB process(attisholz and AB process)

- Aerobic granulation

- Membranes bioreactors

- Submerged MBR ( plates, fibre)

- cross flow MBR(conventional, feed and bleed)

- low pressure cross flow MBR

- Bio-film based waste water treatment

- Trickling filters

- Rotating biological contactors

- Biological aerated fixed film process

- Moving bed bio-film reactors

Sequencing batch reactors

- Treat waste water in batches, it is a discontinuous process

- The raw waste water enter into the chamber,

- the basin is aerated and biological oxidation takes place

- The aeration stops and solids settle to the sludge blanket at the bottom while the clear liquid rises to the top of the basin.

- The liquid is drawn off as effluent and some sludge can be wasted from the bottom of the reactor.

- After the effluent is removed, the SBR can be filled up again.

- For applications which require continuous flow treatment, at least 2 SBR tanks must be available so that one tank can receive flow while the other one is in operation.

- Sludge recycling is not needed because both aeration and settling occur in the same tank and therefore no sludge is lost.

- Advantages :

- Equalization, primary clarification, biological treatment and secondary clarification are achieved in a single reactor

- Operating flexibility and control the time for nitrification and denitrification

- Minimal footprint: good for developing countries

- Potential capital cost savings by eliminating clarifiers and other equipments

- Disadvantages

- A higher level of sophistication  of timing units and controls is required compared to conventional system

- Higher level of maintenance associated with more sophisticated controls, automated switches and valves.

- Potential of discharging floating or settled sludge during the draw or decant phase with some SBR configurations

- Potential plugging of the aeration devices during selected operating cycles, depending on aeration system used by the manufacturer

- Potential requirements for the equalization after SBR depending on the downstream process

Extended aeration

- Is a form of activated sludge treatment particularly suited for small waste flows

- The sewage generally goes straight to a lowly loaded aeration stage rather than passing through primary sedimentation.

- Advantages

- The long residence time in the aeration stage ensures efficient BOD removal as well as limited sludge production. They are also simple to construct and maintain.

- Disadvantages:

- The loading rate is typically very low, of the order of 0.1-0.2 kg / m3 d which leads to a large reactor volume relative to inflow. There is also a limited removal of nutrients such as nitrogen and phosphorus.

Pure oxygen driven aeration

- The use of pure oxygen instead of air permits to dissolve oxygen in the water phase at considerable less energy expenditure because pure oxygen is used.

- About 4 times less    energy is required to dissolve the same amount of oxygen gas. Because of this economy, pure oxygen processes tend to operate at higher DO-levels, generally in the range 5 - 10 mg/1 DO.

- Even if the energy to dissolve pure oxygen is less than the energy when using air, the capital and operating cost reveal that air aerated plants are favored unless oxygen gas can be acquired as a low price by products from another process

- The continuous high DO levels might lead to pin point floc formation sometimes imposing a discontinuous feeding patterns in the form of essential nutrients such as phosphate can be helpful to ascertain adequate effluent quality (feast and famine).

- Advantages

- Higher rates of bio-oxidation and thus higher BOD loadings for comparable removals of BOD.

- Improved settling rate of the sludge and considerable lower wastage sludge production.

- Disadvantages:

- Due to the high pressure of partial CO2 will have a lower PH in the mixed liquor and this may require addition of alkali to prevent inhibition of nitrification.

High oxygen transfer through deep shaft or tower reactors

- Instead of using pure oxygen, one can also increase the oxygen flux by working at higher pressure. The latter can be obtained by either building a tower, or digging a deep shaft.

Deep shaft reactors

- The deep shaft reactor consists of a narrow (3-10 m diameter steel lined concrete shaft in the ground to a depth ranging from 50 to 150 m.

- It contains a concentric tube into which the feed liquid and recycle sludge are injected.

- Air is injected halfway down the centre tube. The bubble rise velocity of air is normally about 3600 m/h.

- The head of non aerated liquid above the injection point and the liquid velocity downwards assure that all the injected air is carried downwards.

- The hydraulic pressure at the bottom of the fermentor ensures that virtually all the gas is dissolved, giving 90 % oxygen uptake.

- The liquid rises in the outer section of the shaft, with the nitrogen, carbon dioxide and residual oxygen coming out of solution as bubbles as the hydrostatic pressure falls and escaping as the liquid enters the disengagement basin at ground level.

- Advantages

- Little or no land area is required, which is of considerable interest for certain industries.

- High oxygen transfer efficiencies are possible (3-5 kg O2/kWh) resulting in a power economy.

- 50 % less waste sludge is produced from the process than from a conventional activated sludge system.

- Disadvantages

- .The system has not found wide application. The costs of shaft construction together with the uncertainties about potential sludge sedimentation at the bottom and corrosion along the shaft hamper its application.

Tower reactors

- Based on a comparable principle for efficient O2 uptake, tower reactors have been conceived based on the desire to achieve a high efficiency for O2 uptake and at the same time, to minimize the volume of waste gas so that if necessary - this could undergo post-treatment.

- Tower reactors measure from 15 to 30 m of height. They are constructed with a secondary clarification unit at the top as described.

- Two-component injector systems assure adequate mixing and an energy efficiency of about 3 kg O2/kWh.

- The oxygen concentration at the outlet is still ca. 5 % by volume (degree of O2 utilization 75 %)

- The volumetric loading rate amounts to 1.75 kg BOD5/m3/d.

Powdered activated carbon (PAC) assisted Activated sludge

- Direct addition of powdered activated carbon (PAC) to the aeration basin of an activated sludge plant

- It is particularly useful when poorly biodegradable organic substrates for which specific removal requirements exist are involved, e.g. dyes in the textile industry.

- From the engineering standpoint PAC addition is relatively simple but it can be expensive.

- The PAC concentration in the aeration basin is gradually brought to 0.7 - 1.5 kg/m3 and kept at this level by replacing the amount removed each day with the excess sludge.

- By the addition of PAC to the aeration basin of an activated sludge treatment plant fed with dye-works, a considerable increase in the purifying capacity can be obtained.

- It is postulated that PAC can stimulate biological activity through adsorption of inhibitory chemicals.

- On the other hand, there is also some evidence that adsorption of certain organics, present at low levels on the PAC surface, rises their concentration to a level which enhances their biodegradation.

- Selected bacteria develop within the pores of PAC and thus degrade effectively the adsorbed substances.

- The breakdown products desorb and new molecules can be adsorbed on vacant active sites. Thus constant biological regeneration of the PAC particles occurs.

- It can be used for the recalcitrant compounds that cannot be removed during the normal activated sludge like recalcitrant color compounds.

Multistage systems/ A-B process

Attisholz treatment system: not used nowadays and not discussed during class

Adsorption Bio-degradation (AB treatment) method

- In the first phase adsorption and immobilization of organic matter occurs. The surplus sludge is energy-rich and therefore, when stabilized through anaerobic digestion, gives high gas yields.

- In the second phase mineralization and nitrification take places.

- When energy is recovered from the surplus sludge by means of  bio-methanation, the water treatment plant can be totally energy self-supporting.

- The two-phase system permits a reduction of volume and hence of construction costs. Furthermore, it saves about 10-15% on aeration cost.

- One can easily calculate the benefits of the AB approach.

- Take a wastewater with 0.5 kg/m3 bCOD and 10000 m3/day, means 10000*0.5= 5000kg of bCOD/day

- At 60% sludge yield in the A stage, this will deliver (5000*60)/100= 3000 kg sludge per day.

- This sludge can be 80% degradable to biogas (see later) delivering 2400 kWh electrical energy per day.

- Due to decreased aeration needs in the B-stage, this energy can be sufficient to make the treatment plant energy neutral or even positive.

Aerobic granulation

- Uses aerobic sludge granules rather than flocs. These granules are spherical biofilms formed through self-immobilization

- The aerobic granular sludge is completely different from floc like sludge. Below are the characteristics of the aerobic granular sludge.

- Round and regular shape with a clear and smooth outer surface

- Dense and compact microbial structure; Granules settle at a rate of 5 – 10 mih.

- Large enough to be visible as separate entities in the mixed liquor during mixing and settling phase;

- Excellent settleability to ensure a fast and easy liquid-solid separation

- High biomass retention

- Ability to withstand high organic loading rates;

- Ability to resist the toxicity of recalcitrant chemicals and heavy metals in wastewater.

- The creation of this kind of sludge is by properly operating upflow and a short sedimentation.

- Formation of anaerobic granules has been extensively studied in the context of the upflow anaerobic sludge blanket (UASB) reactor that produces methane.

- Only in recent years the possibility for aerobic granules has been put forward, and at this stage the first full scale plants are constructed. Below is a photo showing a granule

- Oxygen gradients will exists within a granule, a granule is a sphere and air dissolve to a less extend

- Outside organics are used by oxygen and ammonia is turned into nitrate.

- Inside the granule the denitrification will take place

- Phosphate can also be stored leading to effective removal via sludge wastage.

- In aerobic granulation SBRs, a high biomass concentration is accumulated in reactors because of the compact and dense structure of the granules.

- With their compact structure and high degradation efficiency, aerobic granules show excellent ability in degradation of toxic compounds, such as phenol.

- Aerobic granules possess high tolerance to phenol because much of the biomass in the granules is not exposed to the same high concentration as present in the wastewater.

Membrane bioreactors

- The key bottleneck activated sludge plants encounter is the sludge settling.

- At higher sludge concentrations the gravity settling flux (= mass of solids transported under the influence of gravity induced settling) decreases rapidly due to reduced settling velocity.

- The solids flux applied to the settler increases at higher concentrations. The condition of sludge age is also another challenge.

- The combination of these two effects is the reason why the biomass concentration in conventional activated sludge systems rarely exceeds a value of 6 kg /m3 and typically is of the order of 4 kg /m3.

- To overcome this issue, one can replace the settler with a membrane.

- When the gravity settler is replaced by membranes, the maximum sludge concentration in the biological reactor is set by filtration instead of settleability characteristics.

- In practice, depending on the waste water treated and the membrane characteristics and -configuration, biomass concentrations up to 50 kg TSS.m-3 have been reported, although values between 10 and 20 kg TSS.m-3 are much more common.

- the main difference between conventional activated sludge systems and membrane bioreactors is the replacement of the gravitational separation of solids/liquid in the final settler by a separation based on the filtration of mixed liquor through a membrane

- The membranes are in the micro- to ultra-filtration (MF, UF) range, i.e. with pore diameters between 0.01 to 0.4 μm.

- Membranes effectively remove all suspended solids (including free bacteria and colloidal material), while some viruses may pass (unless attached to suspended solids).

| Membrane | Pore diameter | Vision | Retention |
| --- | --- | --- | --- |
| Granular media filtration | 10μm-1mm | Visible to naked eye | Sand , sludge flocs |
| MF | 0.1-10μm | Optical microscope | Suspended solids , bacteria |
| UF | 0.01-0.1μm | Electron microscope | Colloids , virus |
| NF | About 1nm | Electron microscope | Some soluble organics, multivalent salts |
| RO | Less than 1nm | Electron microscope | All soluble organics, all dissolved salts, |

- The pore size of reverse osmosis membrane is bigger than water and smaller than other particles, it can retain colloids, bacteria, macromolecules, viruses and all salts. RO is used for desalination of sea water to produce drinking water and not for WWTP.

- The key drivers for MBR implementation are all related to the possibility of operating at a higher sludge concentration in the biological reactor and to produce an effluent that is free of suspended solids.

- It could be considered to select a MBR when:

- The availability of space is limited. A MBR will require less volume and surface than a conventional activated sludge system due to the operation at higher biomass concentrations and the replacement of the final settler by (a much smaller) membrane unit

- Strict effluent quality limits apply and/or the effluent will be re-used for a high quality purposes (e.g. process water). MBR treatment will remove all suspended solids including bacteria, the associated organic nitrogen and -phosphorus content and to some extent adsorbed heavy metals, viruses and endocrine disruptors. Conventional activated sludge systems and SBR will require an additional filtration step to polish the effluent

- The capacity of existing waste water treatment plants is to be enlarged (retrofitting)

- High strength waste waters are to be treated (and anaerobic treatment is not feasible)

- Difficult to degrade COD is to be removed (only when this COD either adsorbs to the sludge or is of a size that can be retained by the membranes). A very long sludge age is applied in this case. This is not impossible with conventional activated sludge systems, but problems with sludge fines escaping with the effluent are likely to occur.

- There are several advantages of MBRs:

- Long sludge age is possible due to complete disconnect between hydraulic and biomass retention time (less sludge)

- Almost complete disinfection is possible

- There are no settling issues for the sludge, hence high density sludges can be used

- Overall better system robustness as there is no dependency on settling (bulking etc.)

- Limited footprint

- The key disadvantage of MBRs:

- The cost. Both the operational cost (energy for pumping water through membrane as well as backwashing) and capital cost (membrane unit and replacement) are higher than conventional AS systems.

- MBR configurations:

- All filtration processes operate on the same basic principle

- A pressure is applied to force liquid through a semi-permeable barrier that retains all particles larger than a certain cut-off pore size.

- In the case of MBRs, the wastewater enters a bioreactor containing sludge. The water is removed from the reactor via a membrane unit installed either inside the bioreactor or in a bypass

- The flow of the filtrate can thus be directed either inside-out (cross-flow filtration) or outside-in (submerged membranes).

- In the cross-flow membrane configuration a mixed liquor flow is pumped through a bundle of tubular membranes mounted together in a membrane module.

- The differential pressure over the membrane surface forces the clean effluent (which is called permeate) through the membrane wall out of the tubes (inside-out principle).

- In submerged membranes, the membranes are mounted in mixed liquor in a dedicated membrane tank.

- A slight vacuum is applied on the membranes by a permeate extraction pump and this induces a liquid flow through the membrane wall.

- The differences between cross-flow and submerged membrane filtration:

- The permeate flux is directed inside-out for cross flow membranes and outside-in for submerged membranes

- Cross flow membranes operate at overpressure while the submerged membranes operate at partial vacuum

- Cross flow membranes are operated at a much higher differential pressure over the membranes than submerged membranes

- Cross-flow membranes may be operated at higher suspended solids concentration compared to submerged membranes.

- Operating at such a high biomass concentration will cause other problems: the oxygen transfer rate can be a limiting factor and excessive foaming may become an issue. Sometimes pure oxygen is used for aeration when an MBR is operated at a very high biomass concentration;

- Submerged membranes are operated in a constant flux variable pressure mode: i.e. the differential pressure over the membrane increases in time due to fouling of the membrane surface, while the membrane flux remains constant (as it is set by the permeate pump capacity). For cross-flow membranes this is exactly the opposite: the applied pressure remains the same but the membrane flux decreases in time (due to fouling).

Submerged MBR

- There are two types of submerged membranes: plate membranes and fibre membranes.

- The membranes are placed in a dedicated membrane tank.

- Before the membranes were mounted directly in the aeration tank, but this resulted in serious problems relating to operation and maintenance.

- The number of tanks depends on the size of the influent flow, but often a minimum of two membrane tanks is used in order to allow for downtime due to cleaning or maintenance.

- The membrane tank is fitted with one or more membrane modules, each composed of several membrane elements

- All modules in a membrane tank are connected to a single common permeate header, which is connected to the permeate pump.

- When the membrane tank is in the normal production mode, mixed liquor from the bioreactor is pumped to the membrane tank and distributed below the membrane modules.

- The permeate pump applies a light vacuum of typically 0.1 - 0.2 bar to all membrane elements (plates or fibres), inducing the flow of effluent ("permeate") through the membrane surface and towards the permeate tank for final disposal.

- As a result of the extraction of solids-free permeate the suspended solids concentration in the membrane tank will increase.

- A sludge cake layer is formed on the membrane surface and if no fresh mixed liquor is supplied, at a certain point the pressure drop over the membranes will be so large that permeate extraction ceases completely.

- This situation should be avoided at all times, as extensive cleaning will be required to recover the membranes.

- To limit the increase of the suspended solids concentration in the membrane tank, the mixed liquor flow, which is equal to the sum of permeate- and return sludge flow (Qp + Qr), is several times larger than the permeate flow. (Generally R > 4)

- The return sludge flow is thus equal to the difference between the membrane feed flow (Q) and the permeate flow and is returned to the aeration tank by means of gravity flow.

- The minimum value of the sludge recycle flow can easily be calculated from a mass balance over the membrane tank

- if the maximum allowed mixed liquor concentration Xrmax in the membrane tank is known:

S= Xt/(Xrmax - Xt)

- For Xt = 12 kg TSS.m-3 and Xrmax = 15 kg TSS.m-3, the minimum value of s is equal to 12/(15 - 12) = 4.

- Although the average value of the permeate flow Qp will be equal to (Qi - q) ̴ Qi, the instantaneous value of Qp may differ from Qi as the level in the aeration tank is controlled by adapting the permeate pump capacity, resulting in variation of Qp in time.

- This is an important difference to a conventional activated sludge system where Qe follows Qi (although with a time lag), as the flow though the different basins is induced by the existence of a hydraulic profile.

- When permeate is extracted, a sludge cake layer is formed on the outside of the membranes. While this increases the filtration effectivity as smaller particles are retained, it also increases filtration resistance and thus results in a higher membrane differential pressure (often called trans membrane pressure or TMP).

- In order to retain a stable membrane performance, the thickness of the sludge layer must be controlled.

- One or several mechanisms can be employed:

- Continuous- or periodic aeration underneath or in between the membranes to promote mixing that refreshes the sludge cake layer;

- Periodic back flushing of the membranes with clean permeate from the permeate buffer tank in order to remove the sludge layer and flush the membrane pores (this is only possible with fibre membranes). The permeate flow is reversed by either changing the pump rotational direction or by opening and closing the appropriate automatic valves

- Application of a periodic idle time where permeate extraction is stopped while the membranes remain aerated (this is called relaxation and is generally only applied to plate membranes as an alternative to back flushing).

- After a certain time you need to chemically clean the membrane. Several cleaning chemicals can be used.

Cross flow MBR

- Cross-flow MBR does not require a membrane tank. Instead, stacked racks each with 3 to 6 cross-flow modules are mounted near the aeration tank.

- Each cross-flow module contains a bundle of tubular membranes: for mixed liquor filtration 8 mm is a typical tube diameter.

- Mixed liquor is recirculated at high speed through the membrane tubes at medium pressure.

- The pressure depends on the nature of the waste water to be treated, the suspended solids concentration and the number, type and configuration of the membrane modules.

- The applied pressure forces part of the liquid (the permeate) through the membrane walls, where the produced effluent (permeate) is collected.

- The permeate flow is perpendicular to the direction of the main flow in the membrane tubes, hence the name cross-flow membranes.

- A high liquid velocity is applied in the membrane tubes to ensure that sufficient turbulence is induced to refresh the sludge cake layer and to remove fouling from the membrane surface.

- The flow through the membrane tubes is therefore much larger than the permeate flow.

- Cross-flow membranes can be operated at much higher membrane fluxes than submerged membranes and are significantly less vulnerable to fouling.

- Two different configurations for cross-flow MBR are used:

- Conventional cross-flow MBR, operated as a once-through system in which the complete membrane feed flow minus the produced permeate is returned to the activated sludge system

- Feed & bleed cross-flow MBR in which a large recirculation flow Qrec is maintained with a cross-flow recirculation pump. The return sludge flow Qr is much smaller in this case.

Conventional cross-flow MBR

- In conventional cross-flow MBR, the membrane section consists of one or more parallel racks, each fitted with horizontal membrane modules placed in series.

- The racks are grouped together in membrane streets that are each fed by a dedicated feed pump, forcing the mixed liquor (Qp+Qr) through the membrane modules.

- The pressure applied to the membrane tubes induces a flow of permeate (Qp) through the 
membranes into the module, from where it is collected in a header and discharged as effluent.

- The return sludge flow Qr is discharged back into the bioreactor.

- A cleaning in place (CIP) unit is available to periodically clean the membranes by recirculating a chemical solution over the modules.

- The pressure at the inlet of the first membrane module will have to be high and the high velocity should be maintained because a pump in one module has to pass in all 6 modules, this high pressure is to compensate for the pressure loss in the system.

- The pressure loss in the system is  0.6 - 0.8 bar per module, Average pressure loss per module (0.6+0.8)/2=0.7 bar, for 6 modules the total pressure loss = 6*0.7=4.2

- For a 6 module rack with a required a minimal TMP pressure of 2 bar means the discharge pressure at the outlet of the last module should be 2 bar, the discharge pressure of the recirculation pump is 4.2 + 2 = 6.2 bar. The average differential membrane pressure (TMP) in this case is (6.2+2)/2 = 4.1 bar.

- The required flow rate (Qp+Qr) through the membrane module is determined by:

- The required flow velocity through the tubes

- The diameter of the modules

- The diameter of the membrane tubes.

- For a standard 8module with 8 mm membrane tubes and a membrane surface area of 27 m2, the required module flow is around 260 m3.h-1.

- Assuming a membrane flux of 100 litre/m2.h-1, the permeate production of this module is 27*100 = 27 00 dm3h-1=

- The ratio between feed and permeate flow (F/P ratio) is 260 / 2.7 = 96.

- For a 6 module rack the F/P ratio equals 96/6 = 16 and for a 3 module rack the F/P ratio is 96/3=32.

- The ratio between feed and permeate flow is thus dependent on the permeate flow, which is a product of the number of modules and the membrane flux.

- A disadvantage of the conventional cross-flow configuration is the large amount of energy required to pressurize the feed stream. Not only is this very costly, but it will also result in an increase in mixed liquor temperature.

- Not surprisingly this configuration is only used for small installations or in effluent polishing, where required TMP is much lower due to the reduced suspended solids content.

Feed & bleed cross flow configuration

- This configuration set up is similar to the conventional cross-flow MBR described above. However, a large fraction of the flow out of the last module is recirculated to the first module by the cross-flow recirculation pump.

- Only a small part (equal to about 2 to 6 times the permeate flow) of recirculation flow is now returned as bleed to the bioreactor, in order to prevent accumulation of suspended solids in the cross flow membrane system.

- Thus only the make-up or feed flow from the bioreactor requires full pressurization to the required recirculation pump discharge pressure of 4 to 7 bar.

- The other part of the recirculation flow only requires repressurisation to compensate for the pressure loss over the series of membrane modules: as discussed above this is approximately 0.6 - 0.8 bar per module (including losses in the connecting bends).

- Therefore this configuration has significantly lower energy consumption than the conventional cross-flow MBR.

- However, the biomass that is recirculated over the membrane modules experiences continuous heavy shear stresses in which the sludge flocs are pulverized.

- It can be observed that in order to produce 100 m3.h-1 of permeate in a conventional cross-flow system 1600 m3h-1 of membrane feed flow requires pressurization to 6 bar: the required hydraulic power is 269 kW.

For the feed & bleed system 1100m3 of recirculation stream that requires repressurisation from 2 to 6 bar only 500m3.h-1 is pressured to 6 bars and the

,a,LJAA

)(AL c‘641, -1021

required hydraulic power is 146 kW, or a reduction of 46%.

Comparison between submerged and cross flow MBR

- The energy costs associated with cross flow proved to be prohibitive for large scale application to low strength waste water such as municipal sewage.

- The submerged membrane systems use less energy and are currently replacing the cross-flow systems in popularity

- The investment costs of cross-flow membranes are lower than those of submerged membranes, but as explained above, the energy consumption of cross-flow membranes is much higher. This is partly compensated by the energy required for the aeration of the submerged membranes.

- Advantages of cross-flow MBR compared to submerged MBR are:

- Superior operational reliability and significantly reduced vulnerability to membrane fouling, which makes application to difficult waste waters easier;

- The performance of cross-flow membranes is less dependent on sludge characteristics than that of submerged membranes

- Cross-flow membranes are also much more robust than submerged membranes: this allows application at higher temperatures (up to 60°C) and also allows more intense cleaning;

- Cross-flow membranes are easily accessible, which facilitates maintenance.

- A disadvantage of cross-flow MBR:

- This configuration is less suitable to deal with large fluctuations in feed flow rate.

- Submerged membranes can be operated (temporarily) at a higher flux than their normal operating flux

- This by simply increasing the flow rate of the permeate pump, although this will result in an increase in the differential pressure over the membranes.

- A typical example is given in the figure above where the membrane flux of a submerged membrane is increased from 20 to 60 litre.m-2.h-1, resulting in an increase of the TMP by 0.2 bars.

- This peak membrane flux cannot be sustained for a long period, as the membrane performance will deteriorate, leading to a further increase in TMP until finally cleaning will be required.

- Therefore the maximum duration of such a peak flux period is often limited to no more than 1 or 2 days.

- For cross-flow membranes, a similar increase in pressure will only have a very limited effect on the membrane flux, as the membranes are already operated at high pressure.

- On the figure it can be observed that an increase in TMP of 0.2 bar results in a modest additional membrane flux of 3 litre.m-2.h-1 or only 2%.

- The operational flexibility of submerged membrane systems is very convenient for MBR reactors treating highly variable flows such as municipal sewage with a high ratio between rainwater flow and dry weather flow.

- As you see on the figure a peak flow of three times the average flow can be sustained by the submerged MBR, providing the peak flow duration is not excessive.

- Thus if the expected ratio is smaller than three, the membrane surface area can be sized based on the average flow rate.

- In contrast, the cross-flow MBR system will have to be sized based on the peak flow rate, resulting in additional investment costs.

- Taking the above discussion into account, it can be concluded that in general, submerged MBR is preferred over cross-flow MBR.

- However, cross-flow MBR can certainly be considered an attractive alternative to submerged MBR for small-scale applications (up to an influent flow of 10 - 20 m3.11-1) treating difficult waste waters.

Low pressure cross flow-MBR

- Cross-flow membranes are used, but features of cross-flow and submerged membrane systems are combined.

- Energy consumption is reduced by limiting the liquid velocity in the tubular membranes to approximately 0.5 - 1 m.s-1.

- To induce sufficient turbulence (required keeping the membrane surface clean), air is injected in the feed to the membranes. Therefore these membranes require vertical operation.

- Similar to submerged membranes, the membranes are periodically back flushed with permeate and/or allowed to "relax".

- The required membrane differential pressure is similar to that of submerged membranes, i.e. between 0.1 to 0.4 bars.

- As the membrane flux is comparable or even lower than that of submerged membranes, the main advantage is the possibility to change operation of the membranes to cross-flow mode during peak flow situations.

- This significantly reduces the required cross-flow membrane surface area for peak flow demand.

Theoretical concepts of membrane filtration

- To characterize membranes and to evaluate membrane performance, the following parameters are often used and

- Fgav: average gross membrane flux (litre.m-2.h-1)

- Fgpf : peak gross membrane flux (litre.m-2h-1)

- η:ratio of net flux/gross flux : a correction factor applied to correct for the reduction in permeate yield due to back-flushing or relaxation

- TMP: trans-membrane pressure: i.e. differential pressure over the membranes (bar)

- P: membrane permeability (litre.m-2.11-1.bar-1)

- The flux (liquid flow) through a membrane is a function of the applied force (i.e. the trans-membrane pressure) and the resistance of the membrane.

- The membrane resistance is mainly influenced by the size of the membrane flux, the degree of membrane fouling and the liquid temperature.

- For MBR to be competitive for application in waste water treatment, it is important to achieve and maintain a high membrane flux, while minimizing energy consumption. This implies operating the membranes at a low TMP.

- An increase in TMP will result in an increase in membrane flux. However, apart from increased energy consumption, the increased TMP will also accelerate membrane fouling and increase membrane resistance.

- The actual operating TMP of a cross-flow membrane can be measured as the pressure difference between two pressure indicators: the first one mounted on the mixed liquor side and the second one on the permeate side of the membranes.

- For submerged membranes, the TMP determination is more complicated as it is not possible to directly measure the pressure on the mixed liquor side (as this is an open tank).

- Therefore the following procedure is used: a pressure indicator is mounted on the suction side of the permeate pump. The pressure is then determined at two different moments: (1) when the pump is stopped (Pstatic) and (2) when the pump is running in process mode (Pdynamic)

- The difference between the two readings is equal to the pressure drop over the membrane or the TMP.

- Pstatic is measured in order to compensate for fluctuations in barometric pressure that influence the liquid height in the membrane tank.

- As the size of the membrane flux depends on the applied TMP, a better parameter to evaluate membrane performance and status is the permeability (litre.m-2.h-l.bar-1), defined as the gross membrane flux per unit measure of applied TMP

P = Fg/TMP

- As the relationship between the applied TMP and the resulting membrane flux is not completely linear, it is important that permeability values are always measured at the same standardized membrane flux rate.

- The maximum permeability is dependent on the membrane type and the nature of the waste water treated.

- A high rate of permeability decrease indicates that there are problems: for instance the operational membrane flux is too high, bacterial growth or slime formation is blocking membrane pores.

- The permeability is influenced mainly by the degree of fouling and changes in temperature: at higher temperatures the permeability increases as water viscosity decreases and the membrane pores tend to expand.

- Ideally the temperature effect is determined for the specific waste water/membrane combination, but often empiric correction methods are used.

- One method is based on the relationship between (sweet) water viscosity and temperature (at 15°C standard):

- PT,ref=(νT/νT,ref) where: νT/νT,ref= viscosity at process temperature/at reference temperature (cP); νT,ref= 0.0006T2 - 0.0517.T + 1.9285 = 1.288 for Tref = 15°C

- Another correlation is (at 20°C standard) is given by PT, 20 = PTexp[-0.026*(T-20)] where PT/PT,ref = permeability at process/ at reference temperature in (litre.m-2.h-l.bar-1)

- Each membrane has a certain characteristic operational flux range, which depends among other things on the type of waste water treated and the liquid temperature.

- Waste water origin is a key determinant of the applicable flux.

- In general the factors affecting the permeability are: waste itself, temperature, average membrane flux, degree of fouling, membrane type.

- The average gross flux Fgav is the flux that can be sustained for a long period under the specified operational conditions.

- When membrane fluxes much higher than Fgav are applied, a consequence will be rapid membrane fouling after which cleaning will be necessary.

- Fgav is corrected with a factor η to the average net flux Fnav, in order to compensate for the negative effect on permeate production from the periodic back flushing (fibre membranes) or the relaxation period (plate membranes). Typically the value of η is between 0.8 and 0.95.

- Cross-flow membranes require back flushing or relaxation, so η = 1 and Fgav = Fnav

- The installed membrane surface area has to be sufficiently large to treat both average and peak flow.

Biofilm based waste water treatment

Discuss the biofilm based waste water treatment

- Rather than growing in flocs, microorganisms can also be attached to the surface of a particle and form a so-called biofilm.

- They represent complex associations of micro-organisms.

- Their activity is particularly governed by diffusion processes within the biofilms

- Biofilm is reasonably thick layer of biomass through which substrates (organics, oxygen) need to diffuse inwardly and products need to diffuse outwards (nitrate).

- One of the biofilm based process is the aerobic granulation where the large size of the granules allows gradients of oxygen and substrate and in turns allows simultaneous nitrification and denitrification in the granule. Another example is the sand filters, where biofilms form on the sand particles

- We identify 3 key phases: attachment, growth and dispersal

- Attachment: Free-floating, or planktonic, bacteria encounter a submerged surface and within minutes can become attached. They begin to produce slimy extracellular polymeric substances (EPS) and to colonize the surface.

- Growth: EPS production allows the emerging biofilm community to develop a complex, three-dimensional structure that is influenced by a variety of environmental factors and they use this structure to protect themselves. Biofilm communities can develop within hours.

- Dispersal: Biofilms can propagate through detachment of small or large clumps of cells, or by a type of seeding dispersal that releases individual cells. Either type of detachment allows bacteria to attach to a surface or to a biofilm downstream of the original community.

- There are quite some advantages to biofilm based processes:

- long sludge retention

- higher robustness to external disturbances

- no dependency on settling

- good distribution of e.g. oxygen in trickling bed like configurations

- high biomass concentration allow large volumetric loadings and good effluent quality

- very importantly, biofilms allow multiple niches being formed leading to different process outcomes

Fundamental of substrate utilization in biofilms

- We need to know the concentration of the substrate in the biofilm to avoid that the substrate can be depleted and another undesired compound is formed.

- We need to know how the biofilm absorb the substrate if the substrate are not consumed they becomes high in clean water.

- As you move inside the biofilm, the concentration of the substrate decrease

- The diffusion coefficient can be 80% in dense culture as compared to water and in biofilms the diffusion coefficients drop to less than 50% than those in water. The temperature dependency is 1.3 increase per 10 degree centigrade.

- the flux of substrate through a biofilm can be defined as: M=A*J*t where M is the amount of diffusion in g; A is the cross sectional area through which diffusion occurs ; J is the flux(g/cm2.d); t is the time in days

- The first law of fick learns: J=-D*ds/dz where D is the diffusion coefficient; S is the concentration in g/cm3; z is the distance perpendicular to the flow direction. From this equation M==-D*A*(ds/dz)*t

- The second law of fick is given by the formula: ds/dz=-dj/dz; from equation of J: -dj/dz=+d(Dds/dz)/dz; Performing the second derivative of this equation we have ds/dt= +D(d2s/dz2)

- a biofilm that has uniform cell density of Xf and a locally uniform thickness of Lf. Substrate concentration within the biofilm changes only in the z direction, which is perpendicular to the surface of the biofilm. It is assumed that all required nutrients are in excess concentration, except one, which is called the rate-limiting substrate, or simply the substrate Sf; we have dSf/dt= +Df(d2s/dz2) with the Sf is the substrate concentration at a point within the biofilm and Df is the molecular diffusibility of substrate within the biofilm in cm2/day.

- The substrate conversion in the biofilm is given by the monod equation : dSf/dt= Xf*k*Sf/(Ks+Sf) with the Xf is the biomass density of biofilm; k=qmax is the maximum specific rate of substrate utilization in g/g.x.d; Ks is the half velocity coefficient(g/cm3)

- Equation below describes the steady-state substrate concentration within a differential section of biofilm when substrate utilization is according to the Monod relationship and mass transport is by molecular diffusion,

- This equation combine the equation of the change in substrate concentration dSf/dt= +Df(d2s/dz2) and the the monod equation dSf/dt= Xf*k*Sf/(Ks+Sf).

Df(d2Sf/dz2)=Xf*k*Sf/(Ks+Sf)

- Because the equation above is nonlinear, it cannot be solved analytically.

- Within a deep biofilm, the substrate concentration decreases asymptotically to zero. The deep biofilm has the maximum possible substrate flux for a given Ss (the substrate concentration at the liquid-biofilm interface).

- For a fully penetrated biofilm, Ss exist throughout the full thickness of the biofilm.

- All cases between fully penetrated and deep (0 < Sw < Ss) are termed shallow biofilms. They are not operating at a maximum rate.

- For all cases, the substrate-concentration gradient becomes zero at or before the solid-surface boundary.

- An important part of biofilm modeling is the incorporation of liquid-layer mass transport is modeled with an effective diffusion layer of length L.

- L is defined as the equivalent depth of liquid through which the actual mass transport can be described by molecular diffusion alone.

- Across the diffusion layer, Fick's first law is applied for one dimension to give:

- J=θd=D(S-Ss)/L= km(S-Ss) with S the bulk concentration in g/cm3; Ss the interfacial concentration g/cm3; J=θd is the flux of substrate in the biofilm by diffusion; D is the molecular diffusion of the substrate in the liquid (cm2/d) and km is the mass transport coefficient in cm/d

- These solutions give steady-state substrate utilization but they do not consider the growth or decay of the biofilm

- Atkinson derived based on biofilm diffusion  Leff, which represents the depth of the biofilm at which Sf becomes equal to Smin

- In other words, the biofilm contains effective microorganisms down to a depth Leff as given by:

Often written as

With Kv = maximum rate of substrate    removal per cm3    biofilm (g/cm3. d)

- The amount of substrate which is converted by the biofilm present on a surface is then given by the following euation: R = A . Kv . Leff (g removed/d)  with A : biofilm surface area (cm2)

- A biofilm converting sucrose with qmax of sucrose = 4.55g COD/gDW.day and a biomass density of 0.0345gDW/cm3 biofilm. Suppose a mixed liquor Ss of 21mg COD/L= 21.10-6gCOD/cm3.

- Leff=[(2*Df*Ss)/k*xf]1/2

=[2*0.14*21.10-6/4.55*0.0345]1/2

=[5.88*10-6/0.157]0.5= 60μm

- Generally a biofilm using organics is only functional to a depth of 50-100μm. The underlying layer can serve as a denitrification process.

Biofilm based treatment process

Trickling filters

- The water percolates through a column filled with a carrier matrix

- The microorganisms attached to the carrier consume the organics with oxygen supplied through ventilation.

- A recirculation is applied so that the BOD of the water that is sprayed on the filter is at the most 3 times the BOD of the water effluent.

- The efficiency for stones based trickling filters can be calculated according to Rumpf as:

- E=93-0.017B with B is the BOD load varying from 100-1200g/m3.day

- Alternatively plastic matrices can be used as carrier material.

- It is strongly recommended to always  pre- sediment water for trickling filters

- For trickling filters the efficiency can be calculated by using the modified Velz equations

Where: Si is the dissolved BOD influent, before diluting with recycle (mg/L); S2: dissolved BOD effluent (mg/L); R: recycle ratio, defined as the recycle flow rate over the influent flow; k20: a first order reaction rate coefficient at 20 °C, [L/m2.s]n; As : specific surface in m2/m3; D : depth of media in m; θ : a dimensionless temperature coefficient, T : temperature of water in °C; Qi : feed flux, defined as L new influent/m2 cross sectional area of filter media per s ; n : a dimensionless flow exponent, function of As, but arbitrarily taken as  0. 5;

- Normal coefficient values are: k20=2.10-3 [(L/m2.s)0.5]; θ=1.035; n= 0.5

- Advantages for trickling filters are:

- Energy supply through pump

- Simple construction

- Sludge settles well

- Quite buffered against toxic pulses

- Disadvantages of trickling filters are:

- danger for clogging (not with plastic filters)

- Pre-sedimentation necessary

- aerosol formation; up to 1 km downwind contamination possible

- plastic carriers are expensive : up to 125 EUR/m3 packing

- Hard to control: if OK, fine; if not, one is at loss.

- Suppose that you have Q = 5000 m3/d and BOD520	of raw water	is 300 mg/L and after sedimentation	is 200 mg/L.

- the design of stone filter are : Total BOD load : 5000 m3/d x 0.2 kg/m3 = 1000 kg/d; Volume bed : 1000 / 1 = 1000 m3; hence 1.0 kg/m3.d; A = V/H = 1000 / 2.5 = 400 m2; ϴ= 22.6 m

- Suppose R = 1 then the irrigation rate (flux): (5000 + 5000)/400 = 25 m3/m2. d = 1 m3/m2.h

- E = 93 - 0.017 (1000 g/m3.d). = 76%; BODeffl is given by= (1- 0.76). 200 = 48 mg/L; Total treatment efficiency (300-48)/300*100=84%; BOD of mixture on filter/BOD effl. = 300/48= 2.6

- The Velz equation will give a quite different value; for 17 °C it will give 52 = 97 mg/L. Such discrepancies illustrate the relativeness of the various formulae.

Rotating biological contactors (RBC's)

- A rotating biological contactor is generally constructed from a series of disks, mounted on a central axis.

- The biofilms establish on the disks and are intermittently exposed to the air and to the water phase.

- One could consider them as trickling filter matrixes (150 m2/m3) attached to a horizontal rotor. This permits compact construction.

- They can treat high loading rates: 10-15g BOD/m2.d x 150= ̴ 2-3kg BOD/m3.d

- They have low energy consumption, i.e. 0.25 kWh/kg BOD input.

- They permit the development of a diverse microbial community and therefore also normally support fair nitrification up to 0.3kg/m3.d

- Advantages offered by RBCs:

- Short contact periods are required because of the large active surface

- They are capable of handling a wide range of flows

- Sloughed biomass generally has good settling characteristics and can easily be separated from waste stream

- Operating costs are low because little skill is required in plant operation

- Short hydraulic retention time

- Low power requirements

- Elimination of the channeling to which conventional percolators are susceptible

- Low sludge production and excellent process control

- Disadvantages of RBCs:

- Requirement for covering RBC units in northern climates to protect against freezing

- Shaft bearings and mechanical drive units require frequent maintenance

- Typically only suited for small waste flows

- Reasonably costly reactor

Biological aerated fixed film processes

Why this process / its objectives or stimulus

- Wastewater treatment facilities today must meet increasingly stringent quality standards with nearly constant efficiency.

- At the same time, treatment facilities are being installed closer and closer to urban areas, where available land is limited. Thereby water cleaning systems have to be compact

- Production of noise and odor has to be avoided.

- Commercial incentives

Principle of biological aerated fixed film process

- It is also called the submerged filter, flooded filter, submerged contact reactor

- The principle of submerged biological aerated filters is based on the use of a granular type filtering medium, which is immersed in the wastewater and permanently aerated.

- On this medium the biomass which degrades the pollutants is attached.

- The technology of BAF is thus very similar to conventional rapid sand filters for drinking water supply, except that a coarser filter medium is used and that process air is introduced and distributed through the media at or near the base of the reactor.

- The biological degradation in combination with the physical retention by filtration allows for a high rate of BOD and ammonia removal and capture of solids without subsequent clarifiers.

- Solids build up in the filter as a result of both physical and biological processes, and periodically the bed has to be cleared of these solids by backwashing.

- So in addition to process air, backwash air and water have to be supplied

- three phases can be distinguished:

- solid phase:  made up of granular material allowing both suspended solids retention and attachment of a biomass

- a liquid phase:  in which the solid material is immersed; this phase is continuously renewed by the supply of sewage

- a gas phase:  created by the input of air into the filter

- Higher performing processes have been developed by using granular natural materials such as glass beads, activated carbon, redwood and sand.

- The most recently developed generation of BAF's use buoyant synthetic media or plastics, e.g. polystyrene and polypropylene.

- Plastic biofilm support has been used in several forms including granular materials, mesh, perforated tubes and corrugated sheets.

- Desirable properties of granular media are: high specific surface, high macro porosity, low density (close to unity) to minimize energy consumption during wash sequence, hardness, good resistance to abrasion and inert.

- BAF contain high concentrations of biomass i.e. 10 g/L immediately after backwashing and 15 g/L immediately before.

- This explains why they can handle such high loading rates.

- Biomass profiles are highly site specific; in a down flow nitrifying filter, the upper 1/3 will be mainly heterotrophy while the lower 2/3 will be occupied largely by autotrophic nitrifying bacteria.

- Generally, BAF maintain a diversity of species including: heterotrophic bacteria, often rich in Zoogloea ramigera, nitrifiers and ciliated protozoa

Types of the BAF

- According to the way the filter is fed with sewage, one can distinguish two different types of filters:

a downflow: Water and air flow counter-current. Examples are BICARBONATE and SAFE

upflow BAF: Water and air flow  co-current. Examples are BIOFOR, COLOX and BIOSTY

Comparison of upflow and downflow filters

- Both give better SS performance and better transfer efficiency.

- Advantages for down flow filters include:

- no under floor influent distribution device required which could be sensitive to clogging

- counter flow backwashing removes solids from the filter in the opposite direction to loading and so first removes solids from the early layers of the filter where accumulation is greatest

- flow compresses the filter bed media effecting better suspended solids removal and giving a quicker recovery after backwashing

- No minimum filtration velocity needed and cells can remain at rest during periods of no flow up to 2 days without significant loss in performance capability.

- Up flow on the other hand require a minimum filtration velocity of 1 m/h to hold retained solids in the media.

- Advantages claimed for up flow filters include:

- a greater solids storage capacity before backwashing is available, thus extending treatment cycles

- a more gradual development of head loss rather than sudden clogging which is characteristic of down flow filters

- an improved fluid distribution free of air pockets, blockages or irregular flow patterns throughout the cycle

- more efficient oxygen transfer as bubbles do not coalesce; optimal surface/volume ratio of bubbles is maintained

- higher filtration speeds are permissible, operating rates vary between 2 and 10 m3/m2/h

- less risk of odor as the water on the upper surface of the filter has passed through the treatment process and thus has been oxygenated

Performance of BAF system

- can be used to provide secondary treatment of carbonaceous removal

- can be used to provide tertiary treatment following a secondary treatment stage for producing effluent with lower organic residual and levels of ammonia

- can be used to provide denitrification of nitrified effluent from a tertiary process

- BAF's are commonly proposed to operate in conjunction with a lamella clarifier upstream. The combination provides a very compact treatment process when compared with conventional units. The high rate performance of the attached culture

Sludge production in BAF

- Study of sludge production of BAF in situ is difficult and the assessment of sludge production is usually carried out by analysis of backwash water.

- By this method both captured suspended solids, mineral and organic, and excess biomass from the biological processes will be combined.

- When treating a weak waste (low level of soluble BOD; SBOD), which is high in solids, i.e. high SS/SBOD ratio, the resultant sludge yield' will be high.

- Variations in SS/SBOD ratios may explain the diversity of sludge yield figures quoted in literature.

- It is worth mentioning that this ratio will be dependent upon the characteristics of the raw wastewater. This is the same for the effectiveness of any upstream processes in removing either SS or BOD.

- As cited in Dean (1991) the following solids yield equation is proposed:

Y = [0.6 SBOD + 0.8 X0]/TBOD	where TBOD = Total Biological Oxygen Demand; Y = net solids yield in kg TSS/kg; TBOD and X0 = influent TSS in mg/L.

- BAF systems are high rate reactors and sludge production is reported to be comparable with high rate activated sludge systems

- .Due to the short residence time, BAF sludge are relatively high in organic material content (80%) and exhibit good settling characteristics (SVI < 100), better and more stable than those generally produced in activated sludge plants.

Oxygen transfer and consumption in BAF

- The validity of using a conventional two-film model to describe the oxygen transfer rate for a BAF was examined:

- SOR = [AOR.Css]/[α ((β.Cs-C1)]	; where SOR is oxygen transfer rate determined (g/h); AOR is oxygen required for a given biological oxygen demand (BOD) removal rate (g/h); Css is the dissolved oxygen (DO) saturation at standard conditions (mg/L); α is  KLa correction factor caused by oxygen transfer under wastewater impurities (dimensionless); Cs is DO saturation concentration under actual wastewater treatment condition affected by temperature and pressure (mg/L); C1 is the reactor liquid dissolved oxygen concentration (mg/L); β is the  convection factor for Cs in impure water

Oxygen consumption in BAF

- From the solids yield equation an equation for the oxygen requirements was developed:

- OR = [0.82 SBOD + 0.32 X0]/TBOD where OR is oxygen requirement per unit TBOD applied; SBOD is the change in soluble BOD and Xo is the influent suspended solids.

- In case of nitrification, the NOD needs to be added.

Oxygen distribution in BAF

- Process air distribution is achieved by various means:

- By perforated pipes laid within the media or on the floor of the filter

- By fixed nozzles in the base plate of the reactor.

Backwashing in BAF

- Filters are backwashed at the stage when the driving head through the filter increases to a predetermined level

- The periodicity of backwash can affect the number of BAF cells required in a particular situation.

- The following is steps on how the backwash is done:

- air scour to disturb the bed and dislodge solids

- combined air and water backwashing to displace solids from the filter and finally

- a rinse with water alone to complete excess solids removal and purge air from the filter.

- The volume of backwash water is an important energy consideration. It requires treated water

Advantages and disadvantages of BAF's

- Biological aerated filters appear to offer several advantages over conventional treatment processes, particularly:

- reduced volume of reactor and land area required

- absence of a requirement for a secondary clarifier

- suitability for use in enclosed or underground locations

- much higher loading rates than in activated sludge systems

- stability of effective treatment over a wide range of load variations

- greater resilience of the nitrification process at low ambient temperatures, particularly when enclosed in buildings or underground

- good and constant easily settleable sludge produced

- The main drawback of the BAF systems are:

- The high installation costs, approximately 20 -30% higher than conventional processes,

- Frequent backwashing due to rapid clogging of the bed.

Moving bed biofilm reactors

- It is a submerged plastic packing in the activated sludge basin. Such a process is called a Moving Bed Biofilm Reactor (MBBR),

- One can compare an MBBR with a BAF and note that the key difference is the fluidization of the filter bed.

- Contrary to the BAF described before, the MBBR utilizes the whole tank volume for biomass growth. It also has a very low head-loss.

- Contrary to the activated sludge reactor, it does not need a sludge recycle as the biomass grows on carriers that move freely in the water volume of the reactor and that are kept within the reactor volume by a sieve arrangement at the reactor outlet.

- The reactor may be used for aerobic, anoxic or anaerobic processes.

- The rigid plastic surfaces are shaped in the form of upwardly extending channels and function as static mixers.

- The diffusion of air under the packing gives rise to an upward draft of water and air through the packing.

- There are quite some advantages to this approach, such as

- High sludge density on the carriers without extensive sedimentation needed

- Ability to remove recalcitrant compounds and achieve low BOD in the effluent.

- Robustness of the system against toxic compounds

- Compactness as a clarifier is no longer needed

- There are however also a number of key disadvantages:

- The carrier material can become clogged with biomass particularly due to temporary overloading of the MBBR.

- The carrier material has a high cost

- Due to the formation of biofilms and the intricate structure of the carriers, diffusion limitations can come up. For example, the oxygen flux into the carriers can become a critical issue. It appears that a higher DO concentration is needed in the fluid to enable good nitrification.

- Phosphorus removal is not effective as there is no periodic removal of P enriched sludge. Nitrogen removal is possible and effective though

- Examples of typical applications are:

- Polishing of effluent from anaerobic digestion. This effluent contains mainly recalcitrant compounds, as organisms that use these kinds of compounds tend to be slow growing they would be washed out in a typical activated sludge system

- Two-stage treatment of industrial wastewaters such as pulp and paper wastewater with reasonable organics loading and often bad sludge settling.

- Nitrification in aquaculture, as nitrifiers typically grow very slowly the carrier materials is well suited to maintain this autotrophic biomass.

Resource recovery from wastewater

- The first and foremost recovery product from the activated sludge process is purified water.

- In cases where the treatment plant receives waters from hospitals, textile industries, tanneries, pharmaceutical industries, the excess sludge is heavily contaminated. It has to be disposed of by dumping or incineration and no recovery of products is possible.

- In other cases, however, the excess sludge qualifies as a valuable resource and can be used to recover products such as protein, fuel, fertilizer or heavy metals.

Water recovery

- The production of potable water has been based on fresh groundwater pumped from the unconfined aquifer under the dune belt.

- During the 80s and 90s, the groundwater extraction reached its maximum capacity, leading to saline intrusion from the sea.

- To obtain a sustainable water production in the dune belt, an alternative fresh water resource is the wastewater treatment plant effluent.

- The first water reuse scheme was in Namibia, followed by USA by injecting the water in acquifer. Belgium, Singapore and Australia also have such kind of water reuse scheme.

- The waste water goes in WWTP and is treated by UF and then RO. The obtained water is then injected in dune (large infiltration pond). After 30 days it goes to normal drinking water treatment and used as drinking water this is after aeration and rapid sand filtration.

- 45% of drinking water supply in Belgium is coming from this kind of water reuse scheme.

- This has an advantages in that the ground water level has increased and the water quality has improved because the reused water is soft and natural system has restored the disadvantages is that you spend more energy and the system is scrutinized.

- Effluent from the wastewater treatment plant is filtered through membrane units and subsequently injected for groundwater recharge of the dune water catchment.

- The natural groundwater extraction has been reduced by 30 % or 1 million m3/year. The groundwater levels increased enhancing the natural value of the dunes.

- Groundwater is typically quite hard due to the dissolution of mainly calcium; the recovered wastewater has less calcium. As a result, the hardness of the water decreased improving the quality towards the user. Also the TOC decreased leading to a brighter water.

- When reusing treated domestic wastewater, the hygienic and chemical risks associated cannot be ignored. Therefore the quality of the produced drinking water must be guaranteed and monitored at all times.

- HACCP: Hazard Analysis and Critical Control Points is an existing and even obligatory preventive management system to guarantee food safety, offers an excellent framework for safety evaluation, preventive quality management and implementation of monitoring systems in the context of water reuse and drinking water production.

- HACCP is developed to manage the whole of chemical, physical and microbiological hazards and risks.

- Important steps in every HACCP procedure are:

- setting up and verification of the process flow

- executing the hazard analysis hazard identification and risk analysis and defining plus documenting the control measures

- identification of the Critical Control Points

- defining standards and critical limits and establishing a monitoring system

- Establishing corrective actions.

Energy

- It requires energy for thickening, drying and incineration of sludge. alternative of incinerating the sludge is Anaerobic digestion of sewage sludge

- During the fermentation process, the biodegradable organics present in the primary and secondary sludge are transformed to methane and carbon dioxide at one hand and new microbial biomass on the other hand.

- However, the cellular yield coefficient of the anaerobic bacteria is only of the order of 0.1 g VSS produced/g COD removed.

- As a consequence 1 kg of sludge-COD is converted during anaerobic digestion to respectively 0.1 kg new anaerobic biomass, 0.4 kg residual non-biodegraded matter and 0.250 m3 biogas, which corresponds in reducing equivalents with the 0.5 kg COD removed.

- The energy supplied is between 15-20 MJ supplied for every one kg of sludge. The digestion process therefore permits a recovery of about 7.5MJ biogas from every kg sludge solids.

- The gas produced can be used to power for instance the blowers which aerate the activated sludge.

- The normal WWTP operating on low strength domestic wastewaters can supply up to 70-80 % of their energy demands by the biogas produced from the surplus sludge. In some cases the WWTP can even become a net energy exporter.

Energy savings

- An amount of biodegradable organic matter corresponding with 1000 kg bCOD: Requires aerobically 2000 kg of O2 or 1000 kWh =  € 70 of energy

- Produces anaerobically 500 m3 biogas of which 70% is methane. The methane produced is (500*70)/100=350m3 of methane

- This methane can be burned with an efficiency of 35% which means (350*35)/100= 122.5m3 that can be burned efficiently to give energy

- The energy content of CH4 equals 100 MJ m-3, the energy in 122.5m3= 122.5*100=12250MJ, considering the value of 1MJ is 0.011 euro. The value of the produced energy is 0.011*12250=136 euro

- Or via an electrogen group converted into electricity:  500 m3 biogas = 1000 electrical kWh + 3000 thermal kWh. The total of 4000kwh is obtained and the efficiency of electrogen group is 0.25 which means (4000*25)/100=1000kwh. The produced green power can be sold to a power supplier for € 0.099 per kWh, means 0.099*1000=100euro.

- In addition, the Flemish Regulator of the Electricity and Gas market (VREG) set up a system with Green Power Certificates (GSC) to encourage the production of electricity from sustainable resources (e.g. solar panels, biomass, etc.)

- The VREG gives one GSC to the producer of green power per 1000 kWh generated.

- The power suppliers buy the green power and the 100 euro per GSC

Biosolds

- In domestic wastewater treatment about 75 g of primary and secondary sewage sludge is produced per inhabitant equivalent per day.

- This sludge is stabilized either by extended aeration or by anaerobic digestion.

- Afterwards it can be applied to land in the form of a 5 - 10% DM slurry, or dewatered to a sludge cake (25% DM) or even further dried to a 90% DM organic fertilizer.

- Digested sludge is a good organic matter and farmers can use it as fertilizer, it is a great addition to land because it has nutrients and other important elements.

- On a dry weight basis, activated sludge contains about 50 % organic matter, 2% N, 2% P2 05, 0.1% K20 and various other important elements such as Mg, Zn, Mn, Ni, Co

- It is as an organic fertilizer comparable with good quality farmyard manure.

- In soil the autochthonous soil microorganisms transform the organic matter to new microbial biomass and CO2. The residual recalcitrant organic fraction contributes to the soil humus content; the released N, P, K and minerals serve as plant nutrients.

- Of special importance hereby is the fact that the sludge decomposes in soil very slowly.  Sludge acts as a slow-release fertilizer.

- Sewage sludge therefore contributes very efficiently to improve the organic matter status of the soil raising the soil-water content of the soil and impeding erosion.

- Sewage sludges are valuable for agriculture in terms of their mineral content and particularly their organic matter content and therefore can generally be applied as organic fertilizer in a sustainable way.

- You cannot use the biosolids as fertilizer in case there is dangers of applying wastewater sludge to soils that have been emphasized, such as the risk of heavy metal accumulation or of contamination with harmful organic chemicals (PCB's) or pathogens.

- If the area is nutrient sensitive, you cannot also use the biosolds as fertilizer.

Economic aspects of the waste water treatment

- One inhabitant equivalent is defined as the total oxygen demand (COD+NOD) daily produced by one inhabitant. It considered to average 180g/d and is given by the following equation:

- I.E= Q(COD+4.57N)/180g/d with  Q is the flow of waste water in m3/day; COD in mg/l and N is the Kjeldahl-N in mg/l

- The economic aspects of wastewater treatment  depend on the following important factors:

- The process for treatment

- The process used for sludge treatment and final disposal	,

- the treatability of the incoming water and the effluent standards to be met

- The control and recovery mechanisms built in the plant.

- The scale of the installation has also an influence, but its importance is secondary to the factors cited above. For very small plants, the unit costs increase very significantly though.

Investment cost:

- The sewers investment together with waste water treatment costs constitute the Capital expenditure( CAPEX)

- The sewerage (waste collection) installation cost is 600euro/I.E/year. The collection of waste water is quite expensive that is the raison why many communities are in favor of decentralized and even individual treatment.

- The investment in waste water treatment plant cost in euro in total in 100 euro per capita.  Half of this sum is due to civil construction and half to electromechanical investments.

- Note that the activated sludge plant makes out only ±40% of the total sum.

Running cost

- The depreciation cost of sewerage over 35 years at interest of 10% per year is (600*10)/100= 60 euro

- Operation and maintenance cost of sewers can be estimated as 10 euro

- The total costs for water treatment and sludge treatment and disposal included approximate 30-40 EURO/y per inhabitant. The sludge treatment and removal is normally as expensive as the activated sludge itself. 50-70% of this cost is in the treatment of the sludge.

- The cost of sludge treatment can be reduced by building small treatment plant close to the house to reduce the sewage, extended aeration and biological contractor systems can be used for these small plants and reduce sewage.

- In view of the fact that one inhabitant produces 1801/day of waste water which is equal to 0.18m3/day=65.7m3/year, treatment costs range around 35euro/65.7m3= 0.5 EURO/m3 of water treated.

Total cost

- The total CAPEX is 600+100=700 euro

- In total the operational cost(COPEX) is 100euro(60 for depreciation +10 for maintenance +30 for running and sludge disposal and treatment)

- Comparing to other form of aerobic waste water treatment, normal and high rate activated sludge are more economic in terms of total investment and operation cost. Extended aeration is more expensive due to the prolonged aeration and sludge stabilization in the basin.

Calculation of the water pollution taxes

Large-scale consumers

- Large-scale consumers are those consumers having a yearly water consumption of more than 500 m3/y and/or have at their disposal a water winning with a pumping capacity of more than 5 m3/h.

- Normally, the calculation of the levy is based on analytical data indicating the degree of pollution. These data are filled in the formula for the extensive calculation of the levy.

- Yet, in case the analysis data are incomplete or not available, the waste load is calculated based on conversion factors.

- Calculation of the levy using the extensive calculation method:

- H = [(N1* ki) + (N2 * k2) + (N3 * k3) + Nc]*T With H as the levy in euro  per pollution unit(VE), k1,k2,and k3 are coefficients and For the dischargers connected to the public hydrographic network and having a license for discharge, the coefficients are mentioned in appendix, for all the others these coefficients equal to 1. N1,N2 and N3 and Nc are the waste load expressed in pollution units for oxygen binding and suspended solids(N1); heavy metals(N2); nutrients (N3) and cooling water(Nc); T is the tariff for a pollution unit; this amounts to about 25 EUR/PU

Oxygen binding and suspended solids (N1)

- N1 = Qd/180 * [a + (0.35 * SS)/500 + (0.45 *(2 * BOD + COD)/1350)] * (0.4 + 0.6*d)

- with Qd	: flow rate (1/d);  a is equal to 0 for dischargers connected to the public hydrographic network and having a license for discharge and a is equal to 0.2 for all other dischargers; SS is the suspended solids (mg/1); BOD is the biochemical oxygen demand (mg O2/1); COD is the chemical oxygen demand (mg O2/1); d	: amount of days with discharge, divided by 225; in case there are less than 225 days of discharge per year, d = 1

- the following equation is also used : N1 = (A * C1)/B with A	: productivity of the company expressed in the units as mentioned in the appendix 1; B is unit of productivity mentioned in appendix 1 of C1	 is conversion factor mentioned in appendix 1

Heavy metals (N2)

- N2 = Qy* [40*Hg + 10*(Ag + Cd) + 5*(Cu + Zn) + 2*Ni + As + Cr + Pb]/1000

- with: Qy : flow rate (m3/y) and in case it is unknown take daily flow rate * 225;  Hg, Ag, Cd, Cu, Zn, Ni, As, Cr en Pb in mg/1

- the following equation is also used: N2 = (Q - K) * C2 with Q: the total water consumption (m3/y); K is the thermically loaded cooling water (m3/y); C2	 is the conversion factor as mentioned in appendix 1

Nutrients (N3)

- N3=Qy(N+P)10000 with N: total nitrogen in mg/l; P is total phosphorus in mg/l

- The following equation is also used N3 = (Q-K) * C3 with Q: the total water consumption (m3/y); K is the thermically loaded cooling water (m3/y); C3	 is the conversion factor as mentioned in appendix 1

Cooling water (Nc)

- Nc=a(0.0004*K) with a=0.825 and K is the thermically loaded cooling water in m3/y

Small scale consumers

- H = T * N with H as the levy (EUR); T is the tariff, this amounts to about 25 EUR; N is waste load expressed in pollution units; the formulas are given above for different N.

Example of calculation of the levy

Question one

- A factory has its own wastewater treatment plant and a permit for discharge of the effluent in a canal (this makes the coefficient a = 0). The effluent flow rate amounts 100 m3/d=100000l/d. Analysis data of the effluent are available and the average values are:Hg = 2.9μg/l ;Ag = 34μg/l ; SS = 11 mg/1; BOD = 12 mg/1; Cd = 12μg/l  ; COD = 60 mg/1; Cu = 43μg/l ; N = 23 mg/1; Zn = 129 μg/l ; P = 1.6 mg/1;Ni= 53μg/l ; As = 7μg/l ;  Cr = 35μg/l  ; Pb = 114 μg/l . Discharge happens 365 days each year.

Answer by using extensive calculation

- N1=100 000/180*[0+(0.35*11)/500) + (0.45*(2*12 + 60)/1350)]*(0.4 + 0.6*365/225) = 27 here you can use the flow rate in l/day and other units in mg/l

- N2 = 365 * 100 * [40*0.0029 + 10 * (0.034+0.012) + 5*(0.043+0.129) + 2*0.053 + 0.007 + 0.035 + 0.114]/1000 = 62. The Qy is equal to the daily flow rate * the number of days in a year, in case the days are not known, you use 225. Here it is known as 365. The units of contaminants should be in mg/l, the flow rate in m3/day

- N3=365*100*(23+1.6)/10000 = 90

- By considering that k1=1, k2=1 and k3=1 and the tariff for a pollution unit T is 25eur/pu

H = (27+62+90) * 25 = 4475 EUR

Question 2

- A paper factory produces 10 000 ton papers each year. The effluent of the wastewater treatment Plant is discharged into a canal. No data for the effluent quality are available. From appendix 1 (paper industry=n35) production unit=1000kg paper; C1 = 1.6; C2 = 0.001; C3 = 0.009, from appendix2 the paper industry is number 10 and k1=0.2; k2=1; k3=0.6 ; Q = 50 000 m3/y;  K = 25 000 m3/y

Answer by using conversion factors

- The given  productivity of  the company is equal to

- 000 tones =10 000 000kg; the production unit is

1000 kg. N1= (10 000 000* 1.6)/1000 = 16 000

- N2 = (50 000 - 25 000) * 0.001 = 25

- N3 = (50 000-25 000) * 0.009 = 225

- Nc = 0.825 (0.0004 * 25 000) = 82

- the tarrif for a pollution unit T is 25eur/pu

- H=(0.2*16 000+25+0.6*225+ 82)*25=86050 EUR .

Aspects of drinking water production

Introduction: legislation, quality levels

- One consumes for drinking purposes some 4 L per inhabitant per day. overall for food and hygiene, one consumes some 200 L per I.E/day

- Drinking water can be prepared from groundwater or from surface water. Recently, potable water can also be prepared from treated wastewater, the so-called E-water, economical or ecological water.

- wastewater treatment plant effluent can be used for:

- Water reuse, which typically implies that limited further treatment is done. For example, effluent can be used in agriculture for irrigation after limited treatment

- Water recycling typically entails more extensive treatment leading to direct potable reuse or indirect potable reuse.

- The prerequisites to be used as potable water:

- It must be free from organisms and chemical substances to concentration that do not cause any harm to human health.

- It cannot have an unnatural taste, odor or color.

- The water must keep this quality during storage and transport to the end-user.

- To fulfill these conditions, several countries and institutes have set standards.

- The World Health Organization (WHO) set in 1958 the international standards for potable water.

- Changes were made to them in the past decades but now they are accepted by most countries.

- By following these norms, both physicochemical as microbiological, people have access to safe potable water if a stringent and systematically control occurs.

Physicochemical requirements

- Comprises both the observable (organoleptic) and toxic characteristics of the compounds present.

- The organoleptic cause color, turbidity, odor and taste and these parameters are preferred up to consumers and users.

- The toxic constraints are more stringent than the organoleptic because the latter form no direct threat for human health.

- In contrast to a microbiological contamination, negative effects of a physicochemical pollution generally occur at (exceptionally) high concentrations and only if people are exposed for a long term

- E.g. exposure to high nitrate concentrations can cause infantile methemoglobinemia, i.e. conversion of nitrate in the stomach to nitrite, which preferably binds with hemoglobin in the blood causing suffocation.

- The key concerns nowadays are pesticides, it used to be nitrates but nowadays the pesticides are too much used in agriculture.

Microbial requirements

- 80% of diseases are related directly or indirectly to potable water quality. It is needless to say that microbiological quality of potable water is one of the most important criteria.

- Ideally potable water contains no single fecal or pathogens microorganisms

- Antibiotics selectively slow down microorganisms without harming the higher organism

- Disinfectants on the other hand slow down microbial germs and are often toxic for the higher organism(e.g. Cl2)

- The particular concerns are the bacteria that recently became resistant against normally applied antibiotic due to overconsumption of those.

Potable water supply

- The responsibility for potable water supply is assigned to the communalities.

- some villages are completely responsible (seven in total) while others are connected to a communal association

- Therefore, there are about 30 companies and services directly involved in potable water supply.

- The main task of these companies is to provide a sufficient amount of high quality (according to the legal standards) potable water.

- Each company is responsible for its own region, although water transfers between companies happen on several places.

- Surface water is now 48% and 52% is coming from ground water.

Drinking water from ground water

- Ground water of excellent quality without odor, taste or color is used for the production of drinking water

- Ground water comes from aquifer by pressurizing the water this is by pumping the water from aquifer water table.

- The surface going down we have the confining unit with very low hydraulic conductivity that hampers the movement of ground water in or out of the acquifer. The confining unit is followed by the perched acquifer water table. The pershed aquifer table is followed by the confined unit which is followed by the unconfined acquifer. Below the unconfined aquifer there is also a confining unit. After this confined unit there is  a confined acquifer in which a layer of confining unit is below this acquifer

- In general an aquifer is always between the 2 confined unit

- The contaminants that can be present in ground water include iron and manganese; humic acids and nitrate.

- If the water is pumped in the perched aquifer water table, you may have the humic acid. Humic will try to complex iron and manganese making them difficult to be removed. The humic acids also cause color and can complex chlorine to form carcinogenic compounds.

- The humic acid can be removed from the ground water by coagulation and sand or granulated activated sludge filtration.

- The nitrate is mainly coming from agriculture runoff and can be removed by inverse osmosis or denitrification.

Removal of iron in the past

- In the past, mainly chemical process were used, this is by oxidizing iron under conditions of high PH and redox potential (Eh). The oxidation of iron gives iron oxides which can be removed by filtration over the sand bed. Below is the equation:

2 Fe2+ + 0.5 O2 + H2O --> 2 Fe3+ + 2 OH ---> Fe2O3

- problems may arise during the process :

- Complexation of iron by silicates or humic substances

- Too low pH

- Insufficient floc formation of the iron oxides, which makes filtration almost impossible

- Necessity of regular backwash of the filter to avoid clogging

- Below is the process diagram with an aeration step, a coagulation step, a clarification step and finally a filtration step to obtain a clear water

Manganese removal in the past

- Manganese is typically present as Mn2+. After the removal of the iron, manganese is removed by adding a strong chemical oxidant such as C12, O3, KMnO4 or ClO2.

- The manganese forms oxides and can be removed by filtration over a sand bed.

- This physico-chemical removal of Mn also encounters problems:

- The oxidation by C12 requires alkaline pH (>9). Therefore, extra chemicals have to be added to adjust the pH

- C1O2, O3 and KMnO4 oxidize the Mn2+ in situ. Sometimes, the resulting colloidal MnO2 particles are too fine to be retained by the filter.

- The retention zone is restricted to the upper 10 cm of the filter, and the retention capacity is thus rather limited. Therefore, frequent backwashing of the filter is necessary.

- Concerns in the presence of organics that complex the manganese and prevent the removal.

Removal of iron and manganese: recent techniques

- Recently, chemical removal of iron and manganese is more and more replaced by biotechnological ways to remove Fe and Mn.

- The groundwater is no longer chlorinated, but just intensively aerated and subsequently filtered through a sand bed, in which the bacteria growing on the sand particles enzymatically precipitate the iron or manganese.

- The bacteria use iron and manganese as electron donor and oxygen as electron acceptor and the bacteria get energy.

Recent iron removal

- Gallionella ferruginea and leptothrix ochracea are the bacteria that oxidize iron. They work at low redox and acid to neutral PH

- The need to backwashing is 5 times lower than the physic-chemical iron removal because the F3+ is more densely precipitated than iron oxides.

- No PH adjustment for this method

Manganese removal

- In case iron is present, the Fe should first be removed through flocculation/decantation and additional filter bed which is colonized by iron oxidizing bacteria

- The sand bed to remove manganese is colonized by Mn-oxidising bacteria. Hyphomicrobium is the bacteria that oxidize manganese no Mn4+. It works at PH7 and the redox potential(Eh) of 600mV

Advantages of biological removal

- Lower chemical cost

- A higher filtration rate is possible (6 to 50 m/h), that allows for a smaller filter surface

- Longer filtration period before need of backwash (up to 2 weeks)

- Retention zone comprises the entire filter, better use of space and capacity

- Rapid start-up in case of Fe-removal

Disadvantages

- The main disadvantage for the biological Mn-removal is the long start-up period.

- A minimum of 1-1.5 months is required, but it often takes longer. Some remedies are proposed to stimulate the Mn-oxidation:

- Adding 10-50% of filter material from already biologically active filters can shorten the start-up period dramatically.

- The positive effect is however only short-lived if the filter is not operated properly, for example if the O2 concentration in the water is too low or if the iron was not removed on beforehand.

- Another possibility is to stimulate the Mn-oxidising bacteria by adding crushed Mn-oxide ore. This stimulates not only the bacteria, but also provides an immediate Mn-absorbing capacity.

- If ammonium (NH4+) is present (> 0.2 mg/1), nitrification seems an essential prerequisite for Mn-removal.

- When using a shallow aquifer which contains ammonia, you have to perform a nitrification because nitrifiers will compete with iron and manganese oxidizing bacteria and all oxygen will be consumed by them. Dosing 0.7 mg/1 NaH2PO4 shortens start-up by stimulating nitrifiers (for optimal N/P ratio).

Various techniques used for ground water extraction

- Granular Activated Carbon adsorption: good to remove humic acids, trace organics

- Fe2O3 adsorption to remove arsenic:  Bangladesh and Nigeria are the countries suffering with arsenic problem. The most effective approach is to oxidize the As3+ (arsenite) to As5+ (arsenate) this is by aeration of water in presence of light and the light convert oxygen to more reactive oxygen and the arsenate is adsorbed on granular ferric oxy-hydroxide. Currently, methods are developed to have biological removal of As-ions, for instance by converting it to the volatile trimethylarsine.

- Reverse osmosis: The H2O is pressed through a membrane at high pressure. This way, salts, nitrates, pesticides, pharmaceuticals can be retained by the membranes and pose problems in terms of disposal.

- Ion exchange: can be used to remove excess Ca2+ ions; some ion exchange resins are selective enough to remove NO3-

- Biological nitrate removal: by dosing H2,S, CH3OH, one can bring about denitrification

- At house post treatment with PUR, Brita,

Drinking water from surface water

- Surface waters are more easily contaminated than groundwater and this means that the production of drinking water from surface waters is more complex.

- Below are the steps for surface water treatment in a Classical chemical treatment

- River water to sedimentation reservoir

- Intake in treatment plant and screening to remove big particles

- Chlorination up to breakpoint

- pH-correction with NaOH or CaO

- Coagulation(FeCl3,FeSO4+C12,Al2(SO4), eventual with the help of flocculation aids such as SiO2, active carbon, starch)

- Flocculation

- Sedimentation

- Rapid sand filtration  and eventual ozonation

- Post chlorination to 0.3 mg free chlorine/1

- Below are the flow diagram showing possible treatment stages:

- Surface water source; Coarse screenings; Pre-treatment in storage reservoir ; Fine screenings; microstrainers ; Aeration for iron and manganese oxidation; Addition of Chlorination before the pre-settling ; Pre-settling tank ; Adding coagulants before mixing changer ; Mixing chamber; Flocculation ; Main settling tank; Filters ; Ph correction before the chlorinators; Chlorinators: addition of chlorine ; Clean water tank; Distribution system.

Chlorination/ how can you dose chlorine in water

- Liquid chlorine from chlorine gas: chlorine gas is a toxic gas and very hard to store, it can be compressed to form a clear amber-colored liquid. Liquid chlorine is heavier than water. It vaporizes under normal atmospheric temperature and pressure. Commercially, chlorine is manufactured by the electrolysis of brine with caustic soda and hydrogen as by-products. As a dry gas, chlorine is non-corrosive but in the presence of moisture it becomes highly corrosive to all metals except silver and lead.

- Chlorinated lime (Bleaching powder): Before the advent of liquid chlorine, chlorination was mostly accomplished by the use of chlorinated lime. It is a loose combination of slaked lime and chlorine gas. CaC12.Ca(OH)2.H2O+Ca(OC1)2.2Ca(OH)2.When added to water, it decomposes to give hypochlorous acid HOC1. Chlorinated lime is unstable; exposure to air, light and moisture makes the chlorine content fall rapidly. The compound should be stored in a dark, cool and dry place, in closed, corrosion-resistant containers.

- Sodium hypochlorite: As a solution, sodium hypochlorite (NaOC1) usually contains 12 to 15% available chlorine in the commercial product. Household bleach solutions of sodium hypochlorite usually contain only 3 to 5 % available chlorine (Javel water).

- Organochlorine : Compounds such as chloramine T release active chlorine when dissolved in water

Chlorination reactions in water

- When chlorine in the form of C12 gas is added to water, two reactions take place: hydrolysis and ionization

- During hydrolysis the chlorine react with water to give hypochlorous acid (HOCl) with a Pka value of 3.4. the equation :Cl2+H2O            HOCl + H+ + Cl-

Provided the pH is kept above 7, large quantities of chlorine can be dissolved in water.

- During ionization the HOCl formed in hydrolysis and which is a weak acid liberate a proton and gives OCl- with the pka value of 7.5. Above PH 8, most chlorine exists in the OCl- form.

- The quantity of HOCl and OCl- that is present in water is called the free available chlorine.

- The relative distribution of these two species is very important because the killing efficiency of HOC1 is about 40 to 80 times that of OCl-.

- Because hypochlorous acid is a very active oxidizing agent, it will react readily with ammonia in the water to form three types of chloramines in the successive reactions :

- NH3 + HOC1        NH2C1 (monochloramine) + H2O

- NH2C1+HOC1      NHCl2 (dichloramine) + H2O

- NHC12 + HOC1          NC13 (nitrogen chloride) + H2O

- These reactions are very dependent on the pH, temperature, contact time, and the ratio of chlorine to ammonia.

- The two species that predominate, in most cases, are monochloramine (NH2C1) and dichloramine (NHC12). The chlorine in these 2compounds is called combined available chlorine.

- As will be discussed subsequently, these chloramines also serve as disinfectants, although they are slow-reacting.

Breakpoint reaction of chlorine

- The maintenance of a residual (combined or free) for the purpose of wastewater disinfection is complicated by the fact that free chlorine not only reacts with ammonia, as noted 
previously, but also is a strong oxidizing agent.

- The stepwise phenomena that result when chlorine is added to wastewater containing ammonia are shown in the figure below

- As chlorine is added, readily oxidizable substances, such as Fe+2, Mn+2, H2S, and organic matter, react with the chlorine and reduce most of it to the chloride ion (part A on the figure).

- After meeting this immediate demand, the chlorine continues to react with the ammonia to form chloramines (part B). For mole ratios of chlorine to ammonia less than one, monochloramine and dichloramine will be formed. The distribution of these two forms is governed by their rates of formation, which are dependent on the pH and temperature.

- Between point B and the breakpoint, some chloramines will be converted to nitrogen trichloride, the remaining chloramines will be oxidized to nitrous oxide (N2O) and nitrogen (N2), and the chlorine will be reduced to the chloride ion.

- With continued addition of chlorine, most of the chloramines will be oxidized at the breakpoint. Theoretically, the weight ratio of chlorine to ammonia nitrogen at the breakpoint is 7.6/1.

- Possible reactions to account for the appearance of the aforementioned gases and the disappearance of chloramines are as follows:

- 2NH2C1 + HOC1         N2 + H2O + 3HC1

- NH2C1 + NHC12         N2 + 3HC1

- Continued addition of chlorine past the breakpoint, will result in a directly proportional increase in the free available chlorine (unreacted hypochlorine).

- The main reason for adding enough chlorine to obtain free chlorine residual is that usually disinfection can then be ensured.

Contact time

- Because of the reaction of chlorine with the nitrogenous compounds found in water and because chlorination beyond the breakpoint to obtain free hypochlorous acid is not economically feasible in many situations, the fundamental importance of contact time in the disinfection of wastewater cannot be emphasized enough.

- The effect of contact time can be described with the following relationship:

ln(Nt/N0)=-kt

- Because of the importance of contact time, either a batch or plug-flow reactor should be used to achieve effective disinfection

- Because a batch reactor for chlorination is impractical, plug-flow reactors are used at most treatment plants.

- Because C12 is a toxic gas, a variety of safety precautions have to be taken when one works with this chemical.

- Rising the concentration of ammonia require increasing level of chlorine in the pre-chlorination step resulting in ever increasing levels of trihalomethane which gives the mutagenic compound MX when it is combined to furan.

- Chlorination also can give rise to the formation of the mutagenic compounds like N,N-dimethylnitrosamine and N-nitroso-di-methyl-amine(NDMA). NDMA is of a particular concern because it passes through most treatments

- We are still using chlorine because houses are spread; urban planning is the cause of high chlorine that is used and also the bad quality of surface water. If the water quality is good, no chlorination can be needed.

Filtration method used in drinking water

- Physical: Rapid sand filters

- Biological: slow sand filters and activated carbon filters

Rapid sand filters

- From bottom to top, a typical rapid sand filter is composed of 0.7 m pebbles, 0.7 m sand and 0.2 m carbon.

- The filter is regularly backwashed due to clogging.

- Typical feed is about 10 m/h.

- Ozonation is often done after the rapid sand filtration to remove bad odors and taste.

Slow sand filtration

- The water percolates slowly through the sand of (0.15-0.35 mm) at a rate of 0.1-0.3 m/h.

- The suspended matter present in the raw water is largely retained in the upper 0.5-2 cm of the filter bed.

- This allows the filter to be cleaned by scraping away the top layer sand (usually at intervals of several months).

- In the sand layer, the surface available for microbial colonization is 10000-20000m2/m3.

- The bacteria develop to a depth of 0.6-0.7 m and at densities of about 106-107/g sand.

- The bacteria bring about removal of organics and ammonia, and destruction of pathogens such as enteric bacteria and viruses, protozoa and helminthes.

- Removal efficiency generally is in the order of 100%.

- Since a slow sand filter is a biological system, the filter requires a ripening period of 1-2 weeks before being fully operational.

- Pretreatment is necessary in order to work with low turbidity water

- No backwashing, the filter was developed biologically and the bacteria remove the organics.

- Design criteria for slow sand filters: Sand preferably 0.2-0.6 mm range; initial bed thickness 1.0-1.2 m; after bed scrapings, the thickness has decreased to minimum 0.7 m. Then the filter should be entirely replaced; depth of supernatant water 1 - 1 .5 m; with an average filtration rate of 0.2 m/h, a plant with a capacity of 2*106m3/yr requires a filter bed area of 1042 m2.

Fundamental aspects of the removal of soluble organic material by slow sand filtration

- The removal of soluble organic material depends on growth kinetics: how organism grows; maintenance kinetics: endogenous respiration; flow dynamics: mixing and diffusion effects: flux of substrate through the bacteria.

Growth kinetics

- The removal of dissolved organic matter by microbial growth  obeys to monod equation:

With μ: the rate of microbial growth; 1/μ is the doubling time and 1/μmax = Gmin and is the minimum time for doubling; Ks is the substrate concentration in μg/l for the growth rate(μ) is equal to half of maximum growth rate (μmax/2)

- If S << Ks then  μ = μm.S/Ks (first order, i.e. linear) and if S >> Ks; μ = μm (zero order)

- The equation of 1/μ can rewritten as equal to 1/μmax*Ks/S+1/μmax= Gmin*Ks/S+Gmin

- The doubling time = Gmin+(Gmin*Ks)/S

- Below is the graph of μ vs S

- Increasing substrate(S), increasing the growth (μ); the more food, the more the growth.

- The bacteria one requires high amount of substrate to reach the maximum growth means a high KS, high Ks: high affinity. The organism requires good condition

- The second bacteria achieve a maximum growth rate at a small amount of substrate; requires low substrate to grow, low Ks: low affinity; the lower the value for substrate affinity, the lower concentrations of substrate the organism can use. This is environmental microorganisms, in environment the substrate are limited.

- To determine Gmin graphically, plot 1/μ(G) vs 1/S and get a linear relationship

- The Gmin is determined where the curve meet with the Y axis( y intercept and is b of ax+b)

- tgα=Gmin*Ks

- determination of the monod kinetics:

- Take 3 flasks with one liter of water in each flask; add 0 μg of organic in first flask, 10μg in the second and 20 μg in the third flask. Incubate at 15 degree centigrade and determine the CFU/L in 2,4,… days. Plot the CFU/L vs days

- The more food, the more growth

- For soluble carbohydrates such as glucose , soluble starch, one finds the Gmin=1day and ks between 2-4μgC/L.

- For e-coli, the Gmin is 1h and Ks =1g/l; it is a very fast grower and requires high concentration of substrate. You need to select organism that grow at low substrate.

Maintenance kinetics

- The survival of bacteria at low substrate values is determined by their maintenance requirements. One determines experimentally the time te for 50% die off

- The te is the half time at which 50% of cell die, on the graph it is 4days.

- The bacterial population will maintain  steady state if the doubling time(G)=te or te=Gmin+(Gmin*Ks)/Smin

- Smin= (Gmin*Ks)/(te-Gmin); for te=4 days as in our case on the graph and considering that  the substrate is starch(Gmin=1day; ks=4μgC/L)

Smin=(1*4)/(4-1)=1μgC/L

- In practice, the bacteria maintain a steady state at levels of 0.1-1μg soluble carbohydrate C/L

Flow dynamics

- The flow patterns of water can be laminar or turbulent and this influences the mixing. The flow patterns depends on the Reynolds number:

- With ρ the density of water(1g/cm2); V0 is the flow rate of water through empty bed in cm/h and is equal to 20cm/h for slow sand and 10m/h for rapid sand ; Dp is the diameter of the grains in cm and is equal to to 0.1cm for both slow and rapid sand ; ε is the porosity(for sand filtration is 0.4); η is the dynamic viscosity of the fluid(0.01g/cm.s or 0.01 poise); γ is the kinematic viscosity of water(η/ρ= 0.01cm2/s)

- Note that the Reynolds number for slow sand is 0.06and for rapid sand is 3.  If the Reynolds number is less than 1, the flow pattern is laminar and if it is higher than 100; the flow is turbulent

- Sand filters are laminar flow filters. Thin bio-film grows on grains. In view of the fact that the flow is normally laminar, the diffusion is very important

Diffusion effects

- The amount of food needed for bacteria to keep the steady state in order to have constant biomass. This is the amount that is required to make one new cell, and this amount of food is given by: (V*DM*%C)/Y with the V as the volume of the bacteria; DM as the dry matter; %C as the % of carbon; Y as the yield

- The flux(JB) is the amount of this feed/area/time

- The diffusion of substrate is from the mass of water to the bacterium  in pore and by considering this we calculate the flux due to diffusion (JD) by using the law of Fick :

With M: mass in μg; S: the substrate concentration in μg/cm3; z: distance in which diffusion occurs; A: cross section through which diffusion occurs in cm2

- To keep the bacteria alive, the amount of flux due to diffusion has to be larger or equal to the amount of carbon (JD>JB). as long as this condition is fulfilled, the uptake of substrate by the cell will not be limited by diffusion.

- A bacteria sphere is 0.39μm; the surface can be calculated as 4πr2=4*3.14*(0.39)2=1.9μm2.

- The volume is 4/3πr3=4/3*3.14*(0.39)3=0.25μm3; the dry matter is 20%; the % carbon on DM is 50% and  Suppose that the te=4d=96h=96*60*60=345600s; the minimum substrate (Smin) =0.16μg glucose.C/L and the yield is 0.5g carbon= 0.5*106μg.  This yield is only the carbon yield and not the overall yield which is 0.4.

- the amount that is required to make one new cell=(V*DM*%C)/Y= (0.25*0.2*0.5)/0.5*106=5*10-8 μg C

- the flux JB=5*10-8 μg C/1.9/345600s=7.5*10-14μg/μm2/s

=7.5*10-14*106=7.5*10-8μg/m2/s=7.5*10-8/10000=7.5*10-12 μg/cm2/s.

- the flux JD=D*ds/dz ; the diffusion constant is equal to

D = 6.3*10-6cm2/sec; by replacing the diffusion constant we have: 6.3*10-6cm2/sec*ds/dz >7.5*10-6μg/cm2/s

ds/dz>7.5*10-6/6.3*10-6=1.1μg/cm4=1.1μg/ml/cm which means 1.1μg/ml for 1 cm. one cm=10000μm of biofilm. The S>1.1μg/ml/10000μm biofilm= 0.00011μg/ml/μm . for a biofilm of 10μm as in a normal case in sand filters, the S>0.0011μg/ml/μm = 1.1μg/L.

- microorganisms are capable to clean up to a lower value of about 1.11.1μg/L

- You need a thin biofilm and not a thick biofilm because a thick biofilm require a big diffusion gradient (much substrate). If the biofilm is thick, the distance of diffusion increase and the substrate reaching the bacteria decrease and you end up with high concentration in the effluent. That is why a membrane bioreactor is a 2 stage process and also the reason why the trickling filters has a good filtration; in a 2 stage process, the first process has a thick biofilm and the effluent is send to the second process.  The clean water is coming from a second stage process which has a thin biofilm.

Activated carbon filters

Principle

- Biologically active granular activated carbon (GAC) filters have been developed do as well as slow sand filters. This uses coarse particles of carbon and not sand. As in slow sand filters, bacteria will colonize to densities of 106-107.

- It is not only biodegradation process but also adsorption process. They are responsible for the removal of Total Organic Carbon (TOC). Do not apply disinfectants, as the filter will clog more rapidly.

- The purification is 2 times higher at 20°C than at 10°C.

- Activated carbon filters thus achieve simultaneously several processes:

- Removal by sorption on the active carbon (particularly non-polar compounds)

- Removal by filtration in the macro- and micro-pores (< 1 um)

- Removal by take-up and bioconversion due to the bacteria growing at the surface of the granules.

- When the last two functions fail, the filter is backwashed with water (every month). When the first function fails, the carbon needs to be regenerated (every year).

Design

- Either you can run it top-down where the water is applied to the top of the column and withdrawn at the bottom or you can run it bottom-up but you face with the problem of clogging

- The carbon is held in place with an under-drain system at the bottom of the column.

- Provision for backwashing and surface washing is usually necessary to limit the head-loss build-up due to the removal of particulate material within the carbon column.

- Fixed-bed columns can be operated singly, in series, or in parallel.

- Expanded-bed and moving-bed carbon contactors have also been developed to overcome the problems associated with head-loss build-up.

- In the expanded-bed system, the influent is introduced at the bottom of the column and is allowed to expand, much as a filter bed expands during backwash.

- In the moving-bed system, spent carbon is displaced continuously with fresh carbon. In such a system, head-loss does not build up with time after the operating point has been reached.

- The area of the GAC bed in which sorption occurs is called the mass transfer zone (MTZ).

- After the contaminated water passes through a region of the bed whose depth is equal to the MTZ, the concentration of the contaminant in the water will have been reduced to its minimum value. No further adsorption will occur within the bed below the MTZ.

- As the top layers of carbon granules become saturated with organic material, the MTZ will move down in the bed until breakthrough occurs.

- A certain minimum empty bed contact time is required for the MTZ to be developed fully within the GAC bed.

- If the empty bed contact time of the column is too short (i.e. the hydraulic loading rate is too great), the length of the MTZ will be larger than the GAC bed depth, and the adsorbable contaminant will not be completely removed by the carbon.

- The thickness of the MTZ varies with the flow rate because dispersion, diffusion and channeling in a granular medium are directly related to the flow rate. The only way to use the capacity at the bottom of the column is to have two columns in series and switch them as they are exhausted, or to use multiple columns in parallel.

- Columns are in series and compounds sorbs on activated carbon in the first zone and continue to increase in other zones as the time goes on, after a certain time the hall column is sorbs and it has to be removed and replaced by the new one.

Lower limit

- The concentration on the sorbent in mg/kg is given by: Scq=kd*Ceq with Ceq :the concentration in aqueous solution in mg/l and kd: the sorption constant in L/Kg

- Activated carbon can remove compounds down to 0.001mg/l for the high loadings of carbon that can be 10 g/kg of activated carbon but is suited to remove only apolar compounds.

Question:

The city of Gent has around 250 000 inhabitants. Potable water is produced from surface waters of an agricultural area nearby Gent. Because the farmers use the pesticide 2,4-D on their crops, a rather high concentration can be found in the surface waters (7.4 mg 1-1). Pesticides are hardly biodegradable resulting in the use of activated carbon filters to remove this pollutant from the potable water. How much GAC is necessary per year and what is the cost if 1 kg GAC costs € 2 per kg? Use the graph to determine the adsorption capacity of GAC.

Answer

- the amount of pesticides that should be removed per year for gent is :

250000IE*180L/IEd*365d=16425000000L/yr

The amount of pesticide in mg=16425000000L/yr *7.4mg/l =1.2*1011mg/year

- the adsorption capacity of GAC to treat 7.4 mg/l on the graph is 85mg/g. to obtain this value, you have to calculated the ln of 7.4=2  and extrapolate the 2 on the graph and find qe

- the amount needed/year= 1.2*1011mg/year /85mg/g

=15*106 kg GAC/year.

- the cost/ year= 15*106kg*2 euro/kg=3*106euro/year

Exercises

Organic matter removal

Wastewater has a COD of 700 mg/L with an Fb of 0,95. The bCOD is metabolized aerobically. 10% of the COD escapes with the effluent. The yield of bacteria is 0.35. Assume that the sludge concentration in the aerobic tank is kept constant. The effluent is separated from the sludge in a sedimentation tank.

- Draft the process scheme.

- Calculate the oxygen demand to remove the COD (mg O2/L). Remember to take the growth of the bacteria into account.

Nutrient removal

In a reactor for nitrogen removal, alkalinity is an important process parameter. Consider an influent of 126 mg TAN/L and an organic nitrogen content of 14 mg Norg/L. This process performance of this reactor is expressed in removal efficiency. The organic nitrogen is removed for 100%. The TAN is nitrified but 20% remains as nitrate. The reason for this lower efficiency is that the denitrification does not proceed for 100%, probably because of a shortage in readily biodegradable organics.

Questions:

- What is the alkalinity balance for this process, i.e. how much meq of acid/L will be produced or consumed by the breakdown of the organic N, the nitrification and the denitrification?

- What is the oxygen consumption for nitrification in mg 02/L?

- What is the equivalent oxygen content recovered in the denitrification step and explain why nitrate has an equivalent oxygen content on base of the reaction?

- For the denitrification, one doses glycerol (a by-product of the biodiesel production: molecular formula = C3H5(OH)3. How much extra glycerol is needed in order to reach a complete denitrification?

Aeration

A new activated sludge treatment plant is to be designed for a domestic wastewater. The wastewater flow is 100 m3/h and contains 1194 g bCOD/m3.

Questions:

- Based on this bCOD, calculate the volumetric loading rate (By) ( kg bCOD/m3.d). A hydraulic retention time of 12h is required for complete removal of the bCOD.

- What is the standard oxygenation capacity (0Cst)g/m3.h) to be installed in this  aeration tank, providing a OC/load ratio of 2. The O2 concentration has to be 1,5 g/m3 to keep the biomass active. The wastewater is at 18°C (no corrections for salinity needed; a and 13=1).

Fluidized bed reactors

A FBR is used to treat domestic wastewater (20°C) aerobically. The reactor medium is sand (density 2,65 g/cm3, average particle diameter 0,75 mm) which is fluidized by using a wastewater upstream velocity of 25 m3/m2/h. There is a mature biofilm (thickness 150 pm). Questions:

- Calculate the density of the bioparticles (g/cm3).

- Calculate the porosity e of the expanded sand bed (%)

- Calculate the maximum biomass concentration in the reactor (g COD/L).

What are 3 different forms energy that organisms can use, and the names given to organisms using this energy?

ATP

Organic chemicals, inorganic chemicals or light.

Chemoorganotrophs use organic chemicals. Chemolithotrophs: use inorganic chemicals.

Phototrophs use sunlight

Nutrients

Heterotrophic: require an organic carbon compound as autotrophic: can use CO2.

ATP and nutrients

Photoautotroph (light, CO2): plants, algae, some bacteria.

Photoheterotrophs (light, organics): some algae, some bacteria.

Chemoorganoheterotroph (organic, organic): Animals, Human

Chemolitoautotroph (inorganic, CO2): some bacteria

Oxygen

Aerobes: extract energy only in the presence of oxygen. Anaerobes: extract energy only in the absence of oxygen facultative anaerobic: can survive with or without oxygen.

Anaerobic: if the electron acceptors contain no oxygen, such as organic carbon, iron (Fe3+) and manganese (Mn4+).

Anoxic:  if still other oxygen-containing electron acceptors are present such as nitrite (NO2-), nitrate (NO3-) and sulfate (SO42-).

Saprophytic nutrition: nonliving (inanimate) organic material is used.

Parasitic or predatory nutrition: some or all of the materials used are animate.

What are redox reactions?

Oxidation is the removal of electrons from a compound, whereas reduction is the addition of electrons to a compound.

Redox reactions involve the transfer of whole hydrogen atoms (H+ + e-) and not only electrons.

Electron donor: donate electron. E.g: energy source, electron acceptor: accept electron. For example, hydrogen gas can function as an electron donor and become oxidized:

H2 →2H+ + 2e-

Accepted by oxygen: ½O2 + 2H+ + 2e- → H2O

ATP is created by oxidizing hydrogen and reducing oxygen.

What are models for growth and interpretation?

Unlimited growth

The doubling time: 20 minutes foe e-coli, 1 hour for normal bacteria and few days in drinking water. Sediment: 8-10 months. Easy way to calculate by using logarithmic scale.

Growth at limited nutrient level.

- Monod equation( limited nutrient)

Low Ks: low affinity; High Ks: high affinity. The lower the value for substrate affinity, the lower concentrations of substrate the organism can use.

S << Ks; μ = μm.S/Ks (first order, i.e. linear)

S >> Ks; μ = μm (zero order)

Factors affecting the yield

The yield depends greatly on the metabolism of the bacteria:

Y(autotrophs) < Y(heterotrophs) : authotrophs use high energy to fix CO2.

Electron acceptor Y (organics, aerobic) > Y (organics, denitrifiers) > Y (organics, fermenters)

0 < Y < 1. 1 means that all nutrients are transformed to biomass.

0 means all nutrients are transformed to CO2

- The Logistic model ( limited environment)

Xf: amount of biomass which environment can sustain

X: accumulation in the reactor

Xf>>> x : the growth will occur

Xf=x no growth

Xf<<<x the removal of the bacteria. Bacteria will die.

Continuous mode ( limited resident time)

What is environment effect on growth?

Temperature

The optimal temperature is always closer to the maximum than the minimum.

Psychrophile: 0- 20 °C. Mesophiles: 10 °C and 50 °C(e-coli: 39) Thermophiles: 45 °C and 70 °C and hyperthermophiles: higher temperature

At optimal temperature enzymatic reactions occur at maximal rate. Below, protein and nucleic acid synthesis is hindered, cold denaturation of proteins. Above, catalytic reactions cease because of protein denaturation.

pH

Highly acidic or alkaline, some microbial cell components may hydrolyze or enzymes may denature. Acidophilic and alkalophilic bacteria which tolerate these extreme pH values. Most organisms have a pH range of 2-3 units. For the majority of organisms the intracellular pH must remain near neutrality.

Oxygen

Aerobes: growth where oxygen is present in the concentrations of air (21 %). Microaerophiles: aerobes, oxygen levels must be reduced from that of air.

Facultative: can grow either with or without oxygen present. Anaerobes: cannot use oxygen in their metabolism are called. Aerotolerant anaerobes: can grow in the presence of oxygen but do not use it in their respiration. Obligate anaerobes: oxygen is toxic.

It is necessary to provide extensive aeration. This is because oxygen is poorly soluble in water and the diffusion of oxygen from air to water is slow. This poses a problem of high energy consumption. The advantage of anaerobic processes is indeed that they consume less energy.

a) Aerobic b) Anaerobic; c) Facultative; d) Microaerophilic e) Aerotolerant organism